# CPCPMS3041 Install domestic solid fuel burning appliances

Release: 1

CPCPMS3041 Install domestic solid fuel burning appliances

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is not equivalent to CPCPMS3041A Install domestic solid fuel burning appliances. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to install domestic solid fuel burning appliances.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements

CPCPCM2055 Work safely on roofs

CPCCWC2001 Complete penetrations and flashings

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Prepare for installation. | 1.1 | Access, read and determine domestic solid fuel burning appliances requirements from job specifications, relevant Australian Standards, codes, manufacturer‘s specifications and jurisdictional requirements. |
|  |  | 1.2 | Identify and apply workplace policies and procedures, work health and safety (WHS) and environmental requirements. |
|  |  | 1.3 | Inspect installation sites and confirm appliance installation locations as suitable or negotiate alternative locations with clients. |
|  |  | 1.4 | Confirm heat sensitivities of building materials at appliance installation locations and confirm heat protection strategies with clients. |
|  |  | 1.5 | Select and check the serviceability of the appropriate tools, equipment and personal protective equipment (PPE). |
| 2 | Install appliance. | 2.1 | Measure and mark appliance location according to compliance requirements. |
|  |  | 2.2 | Measure, cut or make up floor and wall protection materials and install according to compliance requirements. |
|  |  | 2.3 | Position appliance and check clearance distances to confirm compliance. |
|  |  | 2.4 | Install appliance according to compliance and organisational requirements. |
| 3 | Install flue. | 3.1 | Check flue dimensions and components and obtain additional sections or components as required to meet compliance requirements. |
|  |  | 3.2 | Calculate, measure, mark and check locations and dimensions of ceiling and roof penetrations according to compliance and organisational requirements. |
|  |  | 3.3 | Make penetrations to host materials with minimal damage and according to specifications and organisational requirements. |
|  |  | 3.4 | Install structural supports according to plans and specifications. |
|  |  | 3.5 | Prepare opening in compliance with specifications, manufacturer recommendations and regulations. |
|  |  | 3.6 | Install flue and associated components according to compliance and organisational requirements. |
|  |  | 3.7 | Apply flashings and sealants to restore integrity of ceilings and roofs according to compliance and organisational requirements. |
|  |  | 3.8 | Performance test penetration to ensure correct fit of completed installation, and take remedial action as required. |
| 4 | Finalise installation and clean up. | 4.1 | Install appliance and associated components and check for complete and correct installation and operation according to compliance and organisational requirements. |
|  |  | 4.2 | Demonstrate operation of appliance to clients and explain factors that affect optimum performance. |
|  |  | 4.3 | Restore installation site and clean tools and equipment, check for serviceability and report any damage, and store and secure. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is not equivalent to CPCPMS3041A Install domestic solid fuel burning appliances.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCPMS3041 Install domestic solid fuel burning appliances

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is not equivalent to CPCPMS3041A Install domestic solid fuel burning appliances. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

installing at least two different domestic solid fuel burning appliances according to client, compliance, workplace and manufacturer requirements. Appliances may be for:

central heating

cooking

space heating

water heating

a combination of applications, which includes:

fireplace inserts

free-standing

in-built

non-tested

installing flue and associated flashings through a tiled and metal roof system.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

factors affecting selection of installation locations for appliances

factors affecting compliance and non-compliance of domestic solid fuel burning appliances

factors affecting optimum performance:

general cleaning and maintenance requirements

type and condition of fuel used in appliances

heat damage protection requirements for appliances:

compliant floor protection

compliant clearance distances

additional shielding

reduced compliant clearance distances

legislation, regulations and standards that apply to the installation and emissions of domestic solid fuel burning appliances

heat-response categories of construction materials:

heat sensitive

heat tolerant

heat resistant

installation requirements for different types of domestic fuel burning appliances:

appliances for:

central heating

cooking

space heating

water heating

combinations of applications

fireplace inserts

free-standing

in-built

non-tested

tested

principles and products of combustion

requirements and methods for maintaining structural integrity of buildings, roof structures and existing roof coverings

structure and function of flue elements and principles of flue draw, and effects of:

bends and horizontal sections

climatic conditions

surrounding buildings and trees

types of domestic solid fuel burning appliances and methods for safe operation

types and condition of wood used as fuel and impacts on:

efficiency of appliances

emissions

compliance requirements:

clearance distances to heat sensitive materials:

ceilings

curtains

furniture

timbers

walls

emissions compliance certification plate

manufacturer specifications

types and dimensions of floor protection.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad