# Assessment Requirements for CPCPMS4011 Design, size and lay out heating and cooling systems

Release: 1

Assessment Requirements for CPCPMS4011 Design, size and lay out heating and cooling systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPMS4011B Design, size and lay out heating and cooling systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

designing, sizing and documenting the layout details of a domestic heating and cooling system requiring a minimum heat load of 150 megajoules (MJ) per hour

designing, sizing and documenting the layout details of a commercial heating and cooling system for a structure with at least four floors.

The performance applies to:

ducting systems for air conditioning, heating or ventilation purposes in buildings Class 1 or 2 with a maximum static pressure of 0.75 kPa and a maximum velocity of 12.5 metres per second

piping systems conveying heating and chilled water operating at a maximum pressure of 700 kPa or a maximum temperature of 100°C

systems having a maximum output of 50 kW and total air quantities not exceeding 950 litres per second.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

principles, operation and characteristics of heating and cooling systems

characteristics and application of different fixing and joining techniques and methods

characteristics and application of pipe and ducting systems, including their fittings and fixture supports and fixing and joining techniques

design concepts and performance measures for heating and cooling systems

effective isolation processes and procedures

electrical and electronic principles and safety requirements

process of designing, sizing and documenting the layout of heating and cooling systems

properties of water and air, including pressure and flow rates

air conditioning systems:

evaporative cooling system

hydronic heating system

hydronic cooling system

warm air system

refrigerated air conditioning system

small-bore heating systems:

boilers

piping

radiators

design materials:

use of computers and relevant computer-aided design (CAD) software

drafting materials and equipment

relevant structure plans and specifications

how to access relevant information, including codes and standards

tools, materials and equipment used to design, size and document the layout of heating and cooling systems

work health and safety (WHS) requirements for designing, sizing and documenting the layout of heating and cooling systems.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad