# CPCPMS4023 Design compressed air systems

Release: 1

CPCPMS4023 Design compressed air systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.0 Supersedes and is equivalent to CPCPMS4023A Design compressed air systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to design and size compressed air distribution systems and prepare system plans, specifications, testing and commissioning schedules and operation and maintenance manuals.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Identify compressed air system requirements. | 1.1 | Access and read plans, job specifications, relevant Australian Standards, codes, manufacturers’ instructions and jurisdictional requirements to determine design and size of compressed air systems. |
|  |  | 1.2 | Identify and apply workplace, work health and safety (WHS) and environmental requirements. |
|  |  | 1.3 | Determine quantity, location, fixtures and legal points of discharge. |
| 2 | Design and size system layout. | 2.1 | Design and size system layout in accordance with relevant manufacturers’ instructions, Australian Standards and jurisdictional requirements. |
|  |  | 2.2 | Use the proposed design to identify and specify optimal material requirements. |
|  |  | 2.3 | Prepare testing and commissioning schedule. |
|  |  | 2.4 | Produce operation and maintenance manual. |
|  |  | 2.5 | Identify and analyse noise reduction methods and specify suitable methods. |
|  |  | 2.6 | Produce final system layout plans according to relevant drawing design standards. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPMS4023A Design compressed air systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCPMS4023 Design compressed air systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.0 Supersedes and is equivalent to CPCPMS4023A Design compressed air systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

evaluating and documenting design parameters including client, Australian Standards, codes, manufacturers’ instructions and jurisdictional requirements for at least two (2) compressed air systems.

The design must include evidence of the application of sustainability principles and concepts, manufacturer and regulatory requirements and identification of electrical hazards.

Design, sizing layouts and plans must include:

industry standard layouts for compressed air systems

pipe sizes according to regulations and manufacturers’ requirements

specifications for compressed air systems

testing and commissioning schedules

operation and maintenance manuals.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

architectural specifications

builders’ specifications

owner requirements

specialist use applications

cost-benefit analysis which compares the range of suitable treatment and disposal options, materials, system choices, disinfection options, water savings and environmental benefits compared to initial and ongoing maintenance costs

design and performance requirements for compressed air systems

relevant manufacturers’ requirements, Australian Standards and jurisdictional requirements

job specifications

system testing

commissioning schedule requirements

operation and maintenance manual information

tools, materials and equipment used to design, size and document the layout of compressed air systems

work health and safety (WHS) requirements for designing, sizing and documenting the layout of compressed air systems.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad