# CPCPMS5010 Design steam generation and distribution systems

Release: 1

CPCPMS5010 Design steam generation and distribution systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0 Supersedes and is equivalent to CPCPMS5010A Design steam generation and distribution systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to design steam generation and distribution systems, including pipe and valve sizing, material selection, and the preparation and specification of documentation for steam distribution systems for a multi-level building with a minimum of 100 beds, such as a hospital, that incorporates a commercial steam-fed laundry.

The role involves interaction with architects, builders, suppliers, clients and relevant planning authorities and requires sound understanding of applicable legislation, standards and codes.

This unit is suitable for experienced tradespeople such as hydraulic design consultants or persons in a supervisory capacity in relation to plumbing services.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing and Fire Services

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Evaluate design parameters. | 1.1 | Establish scope of work for steam generation and distribution systems. |
|  |  | 1.2 | Determine design requirements from relevant Australian Standards, codes, plans, specifications, manufacturer requirements and client brief. |
|  |  | 1.3 | Analyse and apply statutory and regulatory requirements and relevant Australian Standards and codes required for the design. |
|  |  | 1.4 | Apply sustainability principles and concepts throughout the design process. |
|  |  | 1.5 | Establish performance requirements, considering safety of system users or building occupants. |
|  |  | 1.6 | Conduct research to outline design parameters. |
|  |  | 1.7 | Determine factors that contribute to quality, safety and time efficiency. |
|  |  | 1.8 | Conduct a cost-benefit analysis comparing a range of pipe materials and system designs. |
| 2 | Plan, size and detail system components. | 2.1 | Plan layout of pipework systems and type and location of fittings and valves. |
|  |  | 2.2 | Perform pipe size calculations. |
|  |  | 2.3 | Design and size steam distribution system using calculations and computer software packages. |
|  |  | 2.4 | Specify steam appliances, calculate steam consumption and size and specify boilers required. |
|  |  | 2.5 | Detail steam circuits and specify distribution pressures. |
|  |  | 2.6 | Specify and detail steam trap types and their operation. |
|  |  | 2.7 | Specify steam injection systems. |
|  |  | 2.8 | Specify insulation requirements. |
|  |  | 2.9 | Plan pipe supports and expansion systems. |
|  |  | 2.10 | Specify approved materials, jointing methods and installation requirements for steam generation and distribution systems. |
| 3 | Prepare documentation. | 3.1 | Prepare plans for steam generation and distribution system. |
|  |  | 3.2 | Prepare specification for steam generation and distribution system. |
|  |  | 3.3 | Prepare testing and commissioning schedule. |
|  |  | 3.4 | Produce operation and maintenance manual. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPMS5010A Design steam generation and distribution systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad