# CPCPMS5011 Design air conditioning and ventilation systems

Release: 1

CPCPMS5011 Design air conditioning and ventilation systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPMS5011A Design air conditioning and ventilation systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit applies to individuals responsible for the evaluation and design of air conditioning and ventilation systems.

The unit requires application of technical skills and knowledge to design, size and document details for complex air conditioning and ventilation systems for residential and commercial applications.

The role may involve interaction with architects, builders, suppliers, clients and relevant planning authorities and requires a sound understanding of applicable legislation, standards and codes.

The unit requirements are typically carried out by a consultant or person in a supervisory capacity in relation to plumbing services and hydraulics.

It applies to those who design air conditioning on a new project or an existing structure.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, and regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing and Fire Services

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Evaluate design parameters. | 1.1 | Clarify and establish scope of work for the design of air conditioning and ventilation systems. |
|  |  | 1.2 | Determine design requirements using relevant Australian standards, codes, plans, specifications, manufacturer instructions and client briefs, including factors that contribute to quality, safety and time efficiency. |
|  |  | 1.3 | Apply sustainability principles and concepts throughout the design. |
|  |  | 1.4 | Evaluate user comfort and specific use conditions to calculate psychrometric evaluation and heat loads. |
|  |  | 1.5 | Evaluate building heat losses. |
|  |  | 1.6 | Specify distribution requirements for air conditioning and ventilation system applications. |
|  |  | 1.7 | Evaluate air conditioning and ventilation systems according to given applications. |
|  |  | 1.8 | Evaluate and interpret mechanical services drawings. |
|  |  | 1.9 | Evaluate health risks that may arise due to poor maintenance of air conditioning and ventilation systems. |
|  |  | 1.10 | Specify minimum performance requirements for several different air conditioning and ventilation systems. |
|  |  | 1.11 | Evaluate the suitability of manufacturer specifications and technical manuals for a range of design applications. |
|  |  | 1.12 | Carry out research including a desktop study to outline design parameters. |
|  |  | 1.13 | Consider the safety of system users or building occupants. |
| 2 | Plan system components. | 2.1 | Plan appropriate zoning of air conditioning and ventilation systems to comply with performance objectives. |
|  |  | 2.2 | Specify air conditioning units for optimum performance. |
|  |  | 2.3 | Specify fan types for a range of applications. |
|  |  | 2.4 | Plan air diversion systems, including registers, to ensure a balanced system. |
|  |  | 2.5 | Plan ventilation and duct work components and specify locations. |
|  |  | 2.6 | Specify approved materials for planned design. |
|  |  | 2.7 | Complete plans and drawings using relevant Australian standards, codes, manufacturer installation requirements and drawing symbols. |
| 3 | Design and size systems. | 3.1 | Calculate volume of air changes per hour from given floor plans and details. |
|  |  | 3.2 | Specify methods for eliminating health risks from existing or proposed systems, with reference to relevant authority. |
|  |  | 3.3 | Design and size air conditioning and ventilation systems for the required applications. |
| 4 | Prepare documentation. | 4.1 | Prepare client brief for the selected design. |
|  |  | 4.2 | Prepare plans and specifications for of air conditioning and ventilation systems. |
|  |  | 4.3 | Develop an appropriate checklist, including the formulas required to carry out an air balance to a given specification. |
|  |  | 4.4 | Prepare a testing and commissioning schedule. |
| 5 | Test systems. | 5.1 | Evaluate test procedures for air conditioning and ventilation. |
|  |  | 5.2 | Conduct tests using appropriate testing equipment, ensuring tests are conducted for air pressure, air velocity, air volume, humidity, pitot tubes, sound power levels and temperature. |
|  |  | 5.3 | Record test results and prepare a report. |
|  |  | 5.4 | Design, plan and specify adjustments as required. |
|  |  | 5.5 | Produce an operation and maintenance manual. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPMS5011A Design air conditioning and ventilation systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCPMS5011 Design air conditioning and ventilation systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPMS5011A Design air conditioning and ventilation systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

designing, sizing and documenting the layout details for an air conditioning and ventilation system for a 10-storey residential building with ground floor commercial premises and basement car park and include:

air conditioning units

ducting systems

controls

fans

zones.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

methods of determining scope of work by:

interpreting plans and specifications

reviewing sizing and documenting layout for air conditioning and ventilation systems, including residential and commercial systems

analysing new projects or an existing structure being renovated, extended, restored or maintained

design requirements:

architectural plans

building specifications

fire safety

the National Construction Code (NCC)

owners

tenants

air-flow requirements and sizing of duct work

specific use conditions:

age and activity of occupants

computer requirements

food preparation

smoke exhaust

wet-bulb and dry-bulb temperature and humidity

psychrometric evaluation:

absolute, specific and relative humidity

air composition

air properties:

density

expansion coefficient

kinematic viscosity

Prandtl number

specific heat

temperature

thermal conductivity

altitude, density and volume

determination of the air condition using a psychrometric or Mollier chart, showing:

dewpoint temperature

dry-bulb temperature

enthalpy

humidity ratio

relative humidity

specific volume

wet-bulb temperature

assessment of factors affecting heat load:

building materials

insulation

number of personnel

number of windows

room dimensions

usage

weather effects

using:

calculations and computer software systems

heat load calculation methods and formulas

building heat losses:

construction materials

insulation materials

maintaining plenum

occupancy

room sizes

legislation, standards and other relevant documentation according to Commonwealth, state and territory legislation and regulations relating to:

growth and distribution of Legionella pneumophila bacteria and other water and airborne infectious bacterial agents

handling of materials, including hazardous materials and substances

hazard control

organic and inorganic contaminants

quality assurance requirements, including:

AS 1100 Technical drawing materials

AS/NZS 1668 The use of ventilation and air-conditioning in buildings Set

AS/NZS ISO 817:2016 Refrigerants – Designation and safety classification

AS/NZS 5149 Refrigerating systems and heat pumps – Safety and environmental requirements - Parts 1 to 4

AS/NZS 3666 Air-handling and water systems of buildings microbial control - Parts 1 to 4

Environment Protection Authority (EPA)

internal company quality assurance policy and risk management strategy

International Standards Organisation (ISO)

site safety plan

workplace operations and procedures

specification and operational manual information:

commissioning and testing

components installation

fittings

manufacturer specifications, literature and data

materials

pumps

systems

valves

specification:

air-flow requirements

equipment selection

fire safety

jointing

manufacturer requirements

materials

work health and safety (WHS)

specialised components

support

testing

workmanship

plans:

axonometric

cross-sections

details

elevations

isometrics

schematics

sections

plans produced by:

computer generation

drawing equipment

design and sizing detail:

cost

materials and quality of work

milestones

nominated subcontractors

provision of on-site facilities and site access

quality assurance

space allowances

standard procedures

work schedules

design parameters:

client requirements

legislative requirements

WHS requirements

user requirements in relation to zoning

reference to calculations, tables, regulations and manufacturer specifications

methods of applying sustainability principles and concepts:

selecting appropriate material to ensure minimal environmental impact

efficient use of material

efficient energy usage

tests and testing equipment for:

air pressure

air velocity

air volume

humidity

pitot tubes

sound power levels

temperature

air flow

climate control

defect inspection

performance quality assurance (QA) audit

commissioning schedule information:

acoustic performance

balancing

system certification

check for foreign material

leak check

system defects

system functions as per design

operation and maintenance manual information:

as installed drawing

certification documentation

results of commissioning test

maintenance schedules

manufacturer brochures and technical information

regular water quality testing

system operation.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad