# CPCPPS5000 Design gas bulk storage systems

Release: 2

CPCPPS5000 Design gas bulk storage systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Element and Performance Criteria 2.9 rewritten for clarity. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPPS5000B Design gas bulk storage systems. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to design gas bulk storage systems for residential, commercial and industrial buildings.

The unit covers determining installation requirements, preparing plans and system specifications, producing testing and commissioning schedules and creating maintenance and operation manuals.

The role may involve interaction with architects, builders, suppliers, clients and relevant planning authorities and requires a sound understanding of applicable legislation, standards and codes.

This unit applies to experienced people such as hydraulic design consultants, plumbers or persons in a supervisory capacity who work in plumbing services on a new or existing site.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing and Fire Services

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Evaluate design parameters. | 1.1 | Establish scope of work for gas bulk storage systems. |
|  |  | 1.2 | Establish system performance requirements. |
|  |  | 1.3 | Determine design requirements from plans, specifications and client brief. |
|  |  | 1.4 | Review and analyse statutory and regulatory requirements and Australian and New Zealand Standards for the design of gas bulk storage systems. |
|  |  | 1.5 | Conduct research, including a desktop study to identify a range of system options. |
|  |  | 1.6 | Interpret manufacturer requirements and trade and technical manuals for installing gas bulk storage systems. |
|  |  | 1.7 | Conduct a cost-benefit analysis to compare a range materials and system designs. |
| 2 | Plan and detail system components. | 2.1 | Determine layout of a liquefied petroleum gas (LPG) bulk storage installation according to regulatory authorities. |
|  |  | 2.2 | Prepare site plans for bulk installations, including layout of pipework systems. |
|  |  | 2.3 | Specify fire protection systems according to Australian and New Zealand standards and provide detail of deluge systems. |
|  |  | 2.4 | Plan and detail control valves and fittings. |
|  |  | 2.5 | Analyse and locate content gauges according to code requirements and specify meters and regulators. |
|  |  | 2.6 | Evaluate and specify vaporisers and calculate vaporisation rates. |
|  |  | 2.7 | Perform system calculations for a range of applications according to regulations and manufacturer requirements. |
|  |  | 2.8 | Determine pipe fixings for a range of applications. |
|  |  | 2.9 | Specify approved materials, jointing methods and installation requirements for gas bulk storage systems. |
| 3 | Design and size systems. | 3.1 | Design complex gas bulk storage systems using plans and details of system components and established design parameters. |
|  |  | 3.2 | Design a range of suitable system approaches. |
|  |  | 3.3 | Design and size systems using computer software packages. |
| 4 | Prepare documentation. | 4.1 | Prepare system plans. |
|  |  | 4.2 | Prepare system specifications. |
|  |  | 4.3 | Prepare system testing and commissioning schedule. |
|  |  | 4.4 | Produce operation and maintenance manual. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPPS5000B Design gas bulk storage systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCPPS5000 Design gas bulk storage systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Element and Performance Criteria 2.9 rewritten for clarity. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPPS5000B Design gas bulk storage systems. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

evaluating and documenting design parameters for a range of gas bulk storage systems

planning and detailing system components, including:

meters

pipes

regulators

valves

vaporisers

designing a deluge system

designing and sizing gas bulk storage systems using appropriate software.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

common terminology and definitions used in design of gas bulk storage systems for all classes of building

drafting principles

nature of materials used and effects of performance under various conditions such as:

minimum safe operating temperature

minimum safe operating pressure

maximum safe operating pressure

maximum permissible loading on supports

principles of technology in the design of gas bulk storage systems

requirements of state regulatory authorities, Australian Standards and manufacturer specifications, including hazards identified in relation to devices and systems used

workplace safety requirements, including relevant statutory regulations, codes and standards

scope of work:

interpretation of plans and specifications

principles of operation of various types of LPG components and fault conditions in LPG components

sizing and documenting layout of gas bulk storage installations including fire protection systems such as:

chemical injection

extinguishers

hose reels

hydrants

monitors

portable and fixed types of firefighting equipment

spray systems

design requirements:

architectural specifications

builder specifications

owner requirements

specialist gas use applications

cost-benefit analysis

statutory and regulatory requirements and Australian and New Zealand Standards:

Acts, regulations and local and state government policies, including group and strata titling

AS/NZS1596 The storage and handling of LP gas

AS/NZS 2430.3 Classification of hazardous areas Examples of area classification - Flammable gases

AS/NZS 5601.1 Gas installations - General installations

National Construction Code (NCC)

manufacturer information:

pump tables

sizing tables

specifications

technical and trade manuals

operational and safety requirements established using Australian and New Zealand Standards and local and state authority plans

layout of pipework system considerations:

not unduly affecting building integrity and aesthetic appeal

applying principles of economy, serviceability, durability and fit for purpose

control valves:

applications of valves and code requirements for installation

emergency shutdown valves

excess flow valves

hydrostatic relief valves

individual valve types

over pressure shut off devices

types of fittings:

bends

inspection openings

junctions

meters

reflux valves

staged regulators

traps

vaporisers

pumps and compressors

meters:

mass flow

positive displacement

turbine

system calculations:

determination of flow and appliance loadings

interpretation of design charts and tables

pipe sizing calculations

pipe fixings:

anchors

bedding

bracket spacing

concrete support

corrosion protection

cover

hanging brackets

material requirements

saddles

wall and ceiling brackets

materials:

concrete

copper

fittings and valves

high density polyethylene (HDPE)

measures to prevent the spread of fire

jointing methods:

brazing

mechanical joints

solvent cement welding

threading

installation requirements:

bedding

clipping

concrete support

installation details

jointing requirements

level of workmanship

types of plans:

axonometrics

cross-sections

details

elevations

isometrics

sections

schematics produced using:

computer generation

drawing equipment

specification:

clipping

details of specialised components

jointing

manufacturer requirements

materials

valves

workmanship

testing for:

flow testing

leak check

vaporisation rate check

commissioning schedule requirements:

flow testing

leak check

vaporisation rate check

inclusions required in operation and maintenance manuals.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad