# Assessment Requirements for CPCPPS5001 Design industrial gas systems

Release: 1

Assessment Requirements for CPCPPS5001 Design industrial gas systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPPS5001B Design industrial gas systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

planning, detailing, designing and sizing three of the following industrial gas systems:

drying and treatment of solvents

specialist atmospheres

heat exchanger transfers

air heating

and include the following components in each system design:

burners

controls

regulators

gas piping systems operating at greater than 200 KPa

gas tightness testing for piping volumes greater than 30 litres

appliances that include solvent or dust atmospheres

dual fuel appliances

flue and exhaust requirements for forced draught burners

ensuring the systems:

meet all regulatory, manufacturer and Australian and New Zealand Standard requirements

are completed to client specifications

are presented in a professional manner using computer aided design and word-processing programs.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

Australian Standards, codes, statutory and regulatory requirements:

AS/NZS 5601.1 Gas installations - General installations

AS/NZS1596 The storage and handling of LP gas

AS 3814 Industrial gas-fired appliances

AS 1375 Industrial fuel fired appliances

AS 61508 Functional safety

AS 31000 – Risk management

National Gas Law (NGL)

National Construction Code (NCC)

Acts, regulations and local and state government policies, including group and strata titling

manufacturer specifications, including hazards identified in relation to devices and systems used

other codes or standard operating procedures

common terminology, symbols and definitions used in the design of industrial gas systems

principles of technology in the design of industrial gas systems

workplace safety requirements, including relevant statutory regulations, codes and standards

cost-benefit analysis

inclusions for establishing scope of work:

interpreting plans and specifications

sizing and documenting layout of industrial gas systems:

characteristics

compatibility

dimensions

location

patterns

quantities

sizes

surfaces

types of product and service

design requirements:

architectural specifications

builder specifications

owner requirements

specialist use applications

manufacturer requirements:

material specifications

pump tables

sizing tables

technical and trade manuals

types information collected during desktop study for design purposes:

council plans

developer plans

applications

architectural and building plans

other reports as available

performance requirements including pipe grades, cover, flow conditions and discharge requirements, established using Australian and New Zealand Standards and local authority plans

layout of pipework systems:

principles of economy, serviceability and durability

not unduly affecting building integrity and aesthetic appeal

fittings and valves:

meters

regulators

relief valves

valve trains:

analysing the operation of valve components

sizing and selecting components using manufacturer data

system calculations to determine:

explosion relief

purge times

flow and consumption

information in design charts and tables

pipe sizing

operating pressures greater than 200 KPa

expansion and anchorage provisions for pipework

overpressure protection systems

materials:

copper (Cu)

fittings and appliances including measures to prevent the spread of fire

high density polyethylene (HDPE)

jointing methods:

brazing

gluing

mechanical joints

solvent cement welding

threading

pipe fixings:

anchors

bracket spacing

corrosion protection

hanging brackets

material requirements

saddles

wall and ceiling brackets

installation requirements:

clipping

installation details

jointing requirements

level of workmanship.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad