# CPCPPS5002 Design gas reticulation systems

Release: 1

CPCPPS5002 Design gas reticulation systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPPS5002B Design gas reticulation systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to design and size gas reticulation systems, including determining material, placement and ventilation requirements.

The unit also covers the analysis and interpretation of relevant gas codes and standards, the preparation of documentation for testing and commissioning and creating associated operation and maintenance manuals.

The role involves interaction with architects, builders, suppliers, clients and relevant planning authorities and requires a sound understanding of applicable legislation, standards and codes.

This units applies to experienced people such as hydraulic design consultants and plumbers or persons in a supervisory capacity who work in plumbing services on new or existing sites.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing and Fire Services

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Evaluate design parameters. | 1.1 | Establish scope of work for gas reticulation systems. |
|  |  | 1.2 | Establish system performance requirements. |
|  |  | 1.3 | Determine design requirements from plans, specifications and client brief. |
|  |  | 1.4 | Review and analyse statutory and regulatory requirements and Australian and New Zealand Standards for the design of gas reticulation systems. |
|  |  | 1.5 | Conduct research, including a desktop study to identify a range of system options. |
|  |  | 1.6 | Interpret manufacturer requirements and trade and technical manuals for gas reticulation systems. |
|  |  | 1.7 | Conduct a cost-benefit analysis to compare materials and system designs. |
| 2 | Plan and detail system components. | 2.1 | Plan layout of pipework systems including the type and location of fittings and valves. |
|  |  | 2.2 | Calculate pipe sizes for a range of applications. |
|  |  | 2.3 | Specify ventilation and flue requirements of applications. |
|  |  | 2.4 | Conduct gas metering and measurement of gas consumption. |
|  |  | 2.5 | Detail distribution pressures and specifications of regulators and appliances for applications. |
|  |  | 2.6 | Design and detail cylinder and tank systems. |
|  |  | 2.7 | Specify safety, ignition, thermostat and gas control devices in compliance with relevant standards and codes. |
|  |  | 2.8 | Plan pipe fixings for applications. |
|  |  | 2.9 | Specify approved materials, jointing methods and installation requirements for gas reticulation systems. |
| 3 | Design and size systems. | 3.1 | Design and size range of gas reticulation systems. |
|  |  | 3.2 | Design and size pressure loss through pipework, valves and meters. |
|  |  | 3.3 | Design and size ventilation systems for gas systems and appliances. |
|  |  | 3.4 | Design and layout plantroom containing liquefied petroleum gas (LPG) appliances. |
| 4 | Prepare documentation. | 4.1 | Prepare plans for gas reticulation systems. |
|  |  | 4.2 | Prepare specification for gas reticulation systems. |
|  |  | 4.3 | Prepare testing and commissioning schedule. |
|  |  | 4.4 | Produce operation and maintenance manual. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPPS5002B Design gas reticulation systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCPPS5002 Design gas reticulation systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPPS5002B Design gas reticulation systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

evaluating and documenting design parameters for at least two gas reticulation systems, including:

preparing and producing a plan for layout of gas reticulation systems using appropriate software.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

common terminology and definitions used in design of gas reticulation systems for all classes of building

principles of technology used in design of gas reticulation systems

requirements of state regulatory authorities, Australian Standards and manufacturer specifications, including hazards identified in relation to devices and systems

work health and safety (WHS) requirements, including relevant statutory regulations, codes and standards

scope of work:

interpretation of plans and specifications

sizing and documenting layout of gas reticulation systems for applications, including residential, commercial and industrial

new projects or existing structures being renovated, extended, restored or maintained

design requirements:

architectural specifications

builder specifications

owner requirements

specialist use applications

cost-benefit analysis

statutory and regulatory requirements and Australian and New Zealand Standards:

Acts, regulations and local and state government policies, including group and strata titling

AS/NZS 1596 The storage and handling of LP gas

AS/NZS 5601.1 Gas installations - General installations

National Construction Code (NCC)

gas utility and supplier information and requirements

industry standards

requirements from manufacturers:

material specifications

pump tables

sizing tables

technical and trade manuals

desktop study including collection and interpretation of existing data for design purposes:

architectural and building plans

council plans

developer plans

applications

reports as available

layout of pipework systems:

have principles of economy, serviceability, durability and fit for use applied

not unduly affect building integrity and aesthetic appeal

fittings and valves:

bends

couplings

regulators

tees

unions

calculations for:

energy

gas volume

pressure

sizing

storage

ventilation and flue requirements which must include appliance flue design and ventilation requirements according to standards, regulations and gas authorities’ requirements

specifications of regulators:

adjustment procedures of regulators

excessive pressure protection types of regulators

gas regulation method

identification, analysis and documentation of regulator faults

principles of operation

selection and installation requirements

sizing of regulators

types of gas regulators

specifications of appliances:

commercial appliances

components

construction of the appliance

domestic appliance design

electronic controls

industrial appliances

design of cylinder and tank systems based on:

anticipated use

appropriate time period between refilling

gas storage requirements calculations

pipe fixings:

anchors

bracket spacing

corrosion protection

cover

hanging brackets

material requirements

saddles

wall and ceiling brackets

materials:

copper (Cu)

fittings and fixtures

galvanised steel

polyethylene (PE)

unplasticised polyvinyl chloride (uPVC)

jointing methods:

brazing and threading

gluing

mechanical joints

rubber ring

solvent cement welding

installation requirements:

clipping, bedding and installation detail

installation requirements for mobile, marine installation and portable appliances (high and low-pressure)

jointing requirements

level of workmanship

plans:

axonometrics

cross-sections

details

elevations

sections

isometrics

schematics which may be produced using:

computer generation

drawing equipment

specification:

appliances

bedding

clipping

details of specialised components

jointing

manufacturer requirements

materials

valves

workmanship

testing for:

bubble leak

electronic gas leak detection

flow

inspection checklist

pressure

quality assurance (QA) audit

commissioning schedule information:

checking for burrs and obstructions

commissioning appliances

confirming fit for purpose

purging system

removing contaminants

information for operation and maintenance manuals:

check for blockages

leak detection

regular inspection

regular maintenance requirements.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad