# Assessment Requirements for CPCPPS5014 Locate and maintain piping systems

Release: 2

Assessment Requirements for CPCPPS5014 Locate and maintain piping systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Performance Evidence formatted for clarity. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPPS5014A Locate and maintain piping systems. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

preparing a client brief, plans and specifications, testing and commissioning schedule and producing an operation and maintenance manual for each of the following:

pipe-freezing of an existing 100 mm copper water mains requiring a new 100 mm tee connection

a sewer line inspection using closed-circuit television (CCTV) drain camera equipment through a sewer inspection point and a sewer manhole and the removal of a blockage with high-pressure drain cleaning equipment

use of under-road boring equipment to install a 150 mm sewer line across a local council road containing a minimum of two lanes in width

an approved trenchless robotic and chemical repair system to incorporate a straight-line section of 100 mm sewer pipe and a 100 mm sewer junction repair.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

common terminology and definitions used in the specification of piping system maintenance procedures

nature of materials used and effects of performance under various conditions

requirements of state and territory regulatory authorities, Australian Standards and manufacturer specifications, including hazards identified in relation to devices and systems used

applications for pipe and servicing locating equipment

uses and limitations of pipe-freezing equipment

uses and limitations of sewer and drain cameras

uses and limitations of under-road boring equipment

uses and limitations of trenchless, robotic sewer repair and chemical grout systems including re-lining

uses and limitations of high-pressure drain cleaning equipment

safety procedures relating to maintaining hydraulic and plumbing systems.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad