# Assessment Requirements for CPCPPS5015 Inspect plumbing and drainage systems

Release: 1

Assessment Requirements for CPCPPS5015 Inspect plumbing and drainage systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPPS5015B Inspect plumbing and drainage systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency in this unit, a person must meet the performance criteria for this unit by:

conducting a compliance inspection on four different hydraulic systems and prepare a report on each instance to ensure compliance.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

common terminology and definitions used in the design of plumbing and drainage systems

use of approved materials identified from Australian and New Zealand Standards and effects of performance under various conditions:

fixtures

fittings

pipes

principles of technology used in the design of hydraulic systems:

fire services

gas services

mechanical services

sanitary plumbing and drainage

stormwater drainage

trade waste

water supply

administrative procedures required for the inspection of hydraulic systems:

file management

inspection allocation

inspection records

logging inspections

inspection checklists requirements:

approved installation methods

authorised materials

project section

compliance with:

Australian and New Zealand Standards

distances

limitations

National Construction Code (NCC)

other regulatory requirements

Inspection reports requirements:

defect

inspection

performance

quality assurance

as-constructed plans including layout of:

fire services pipework

gas pipework

mechanical services pipework

sanitary plumbing and drainage pipework

stormwater pipework

trade waste drainage systems

water supply pipework

effective dispute resolution techniques when non-compliance is identified:

active listening techniques

non-threatening body language

power neutral relationships

other recognised dispute avoidance and resolution techniques

testing procedures:

air pressure tests

compliance checklist

gas leak detection

hydrostatic tests

mirror tests

quality assurance (QA) audit

sound testing

enforcement action implemented in the case of non-compliances:

fines

legal action

notification to plumbing licensing body

penalties

sustainability principles and concepts:

selecting appropriate components and materials

choosing efficient products

using material efficiently

storing and disposing of hazardous material to ensure minimal environmental impact.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad