# Assessment Requirements for CPCPPS5023 Design solar water heating systems

Release: 2

Assessment Requirements for CPCPPS5023 Design solar water heating systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.5. Change to Performance Criteria 4.1. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPPS5023A Design solar water heating systems. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

designing, sizing and documenting an approved layout using two methods of solar heated water systems with:

one gas-boosted commercial solar system

one heat pump-boosted system

for:

a high-rise unit development building to a minimum of 29 floors including sanitary fixtures on each floor level

a wide span, multi-building project such as a school, nursing home or university incorporating a solar pre-heat systems and heating systems.

Each project is to include a specification and maintenance manual.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

application of the National Construction Code (NCC) and relevant Australian standards and codes, manufacturer specifications and operating procedures relevant to the sector

common terminology and definitions used in design of solar water systems

work health and safety (WHS) requirements, relevant statutory regulations, codes and standards

cost-benefit analysis

inclusions for establishing scope of work:

interpreting plans and specifications

sizing and documenting layout solar water heating systems:

characteristics

compatibility

dimensions

location

patterns

quantities

sizes

surfaces

types of product and service

design requirements:

architectural specifications

builder specifications

owner requirements

specialist use applications

manufacturer requirements:

material specifications

pump tables

sizing tables

technical and trade manuals

types of information collected during desktop study for design purposes:

council plans

developer plans

applications

architectural and building plans

other reports as available

principles of technology used in design of solar water heating systems:

solar radiation calculations

solar efficiencies

sustainability principles and concepts

installation requirements

health risks and hazards associated with solar water heating systems

testing and commissioning schedule

operation and maintenance manuals.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad