# CPCPPS5024 Conduct a water audit and identify water-saving initiatives

Release: 1

CPCPPS5024 Conduct a water audit and identify water-saving initiatives

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPPS5024A Conduct a water audit and identify water-saving initiatives. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to conduct water audits in residential buildings with a minimum of 50 units; commercial buildings with a minimum of 20 floors, including a commercial laundry for hospital or nursing home.

This unit also specifies the skills and knowledge required to propose types of water-saving devices that are appropriate where water use reductions are possible.

The role involves interaction with builders, suppliers, clients and relevant planning authorities and requires a sound understanding of applicable legislation, standards and codes.

This unit applies to experienced people such as hydraulic design consultants or persons in a supervisory capacity in relation to plumbing services on a new or existing site.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing and Fire Services

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Calculate water use. | 1.1 | Establish scope of work for conducting water audits. |
|  |  | 1.2 | Identify requirements from relevant Australian Standards, codes, plans, specifications, manufacturer requirements and client brief. |
|  |  | 1.3 | Apply sustainability principles and concepts throughout water audit process. |
|  |  | 1.4 | Specify types of flow and pressure-measuring devices including their location and use. |
|  |  | 1.5 | Conduct flow and pressure tests and measure flows at outlets. |
|  |  | 1.6 | Compare actual water use to ideal use and calculate the difference. |
| 2 | Identify excessive water and energy use. | 2.1 | Implement leak identification processes considering safety of system users or building occupants. |
|  |  | 2.2 | Measure and evaluate flows against relevant standards and user requirements. |
|  |  | 2.3 | Evaluate suitability of existing fixtures and fittings against new technology. |
|  |  | 2.4 | Identify and compare water use times against optimal timing. |
|  |  | 2.5 | Identify and analyse existing inefficient system conditions. |
|  |  | 2.6 | Conduct pressure test and identify and compare consequences of high and low pressures to industry standards. |
|  |  | 2.7 | Evaluate energy saving associated with reduction in water use. |
| 3 | Evaluate methods to conserve water and energy. | 3.1 | Identify flow restrictors, sensors, pressure-limiting devices and automatic systems for a range of applications. |
|  |  | 3.2 | Evaluate alternative processes and practices for optimum water and energy savings. |
|  |  | 3.3 | Evaluate alternative fixtures and fittings for optimum water and energy savings. |
|  |  | 3.4 | Apply rainwater harvesting techniques and processes. |
|  |  | 3.5 | Design recycling and re-use processes. |
|  |  | 3.6 | Design water metering strategies to monitor and problem solve water saving systems. |
| 4 | Report findings. | 4.1 | Conduct a cost-benefit analysis including the investment return period. |
|  |  | 4.2 | Prepare water and energy audit report. |
|  |  | 4.3 | Identify and report resulting environmental benefits and water and energy savings. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPPS5024A Conduct a water audit and identify water-saving initiatives.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad