# CPCPPS5025 Design grey water re-use systems

Release: 2

CPCPPS5025 Design grey water re-use systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Typographical error corrected in Element 1.7. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPPS5025A Design grey water re-use systems. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to design grey water re-use systems. The unit addresses the collection, treatment, diversion and storage options for the design of grey water re-use systems for wide span and high-rise mixed development building projects.

The role may involve interaction with architects, builders, suppliers, clients and relevant planning authorities and requires a sound understanding of applicable legislation, standards and codes.

The requirements of this unit are typically carried out by experienced people such as hydraulic design consultants or design engineers.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing and Fire Services

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Evaluate design parameters. | 1.1 | Establish scope of work for design of grey water re-use systems for wide span and high-rise building projects. |
|  |  | 1.2 | Establish performance requirements considering the safety of system users or building occupants. |
|  |  | 1.3 | Determine design requirements from relevant Australian Standards, codes, plans, specifications and client brief. |
|  |  | 1.4 | Identify potential household or community health and environmental risks and take measures to protect public health that impact the design parameters. |
|  |  | 1.5 | Apply sustainability principles and concepts as part of the design process. |
|  |  | 1.6 | Conduct additional research to outline design parameters. |
|  |  | 1.7 | Interpret manufacturer requirements and trade and technical manuals for grey water re-use systems. |
|  |  | 1.8 | Conduct cost-benefit analysis for implementing the proposed design. |
| 2 | Plan and detail system components. | 2.1 | Detail primary, secondary and advanced secondary treatment and tertiary systems. |
|  |  | 2.2 | Plan layout of pipework systems including type and location of fittings, valves, controls and other system components. |
|  |  | 2.3 | Design and detail changes to building drainage system and identify inspection requirements. |
|  |  | 2.4 | Evaluate and detail grey water land application, disposal, diversion, storage and wet weather storage options to identify problems and plan solutions. |
|  |  | 2.5 | Plan and detail stored and pressurised grey water systems for irrigation, sanitary flushing and other approved uses. |
|  |  | 2.6 | Plan and detail storage tanks and approved disposal options. |
|  |  | 2.7 | Calculate pipe size and pump duty and size and detail pumpwell, pump and pump control requirements. |
|  |  | 2.8 | Evaluate approved materials and jointing methods for grey water re-use systems, design pipe supports and specify installation requirements. |
| 3 | Design and size systems. | 3.1 | Design grey water re-use systems for residential, commercial and industrial applications which include water treatment and backflow protection of drinking and non-drinking water supply systems. |
|  |  | 3.2 | Design grey water re-use systems to ensure that the systems can be properly and safely maintained. |
|  |  | 3.3 | Design and size grey water re-use systems using relevant computer software packages. |
| 4 | Prepare documentation. | 4.1 | Prepare client brief of the proposed design. |
|  |  | 4.2 | Prepare plans and specifications for grey water re-use systems. |
|  |  | 4.3 | Prepare testing and commissioning schedule. |
|  |  | 4.4 | Produce operation and maintenance manual including information on how to properly and safely maintain the system. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPPS5025A Design grey water re-use systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCPPS5025 Design grey water re-use systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Typographical error corrected in Element 1.7. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPPS5025A Design grey water re-use systems. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

designing, sizing and documenting the layout details of a greywater re-use system for a high-rise mixed development building and a wide span project, including:

a specification for both

planning and detailing systems components, including:

storage tanks

system overflow

treatment systems

piping systems

plumbing systems

usage systems

designing and sizing a grey water re-use system.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

approved installation methods

hazards associated with devices and systems used in the hydraulic sector

nature of materials and effect of their performance in a variety of conditions

organisational quality procedures and processes

principles of technology in the design of grey water re-use systems for residential, commercial and industrial applications to include water treatment and backflow protection of drinking and non-drinking water supply systems

terminology and definitions used in hydraulic design

work drawings and specifications

work health and safety (WHS) requirements, including relevant statutory regulations, codes and standards

scope of work:

interpretation of plans and specifications

sizing and documenting layout of grey water re-use systems for residential, commercial and industrial applications to include water treatment and backflow protection of drinking and non-drinking water supply systems

design requirement:

architectural plans

building specifications

owner requirements

pipework identification

sizing of pipework

backflow protection of drinking and non-drinking water supply systems

water treatment

specialist water use applications

health risks:

abdominal pain

acute enteritis

bacillary dysentery

chest pain

cholera

common colds

coughing

diarrhoea

digestive and nutritional disturbances

dysentery

fever

gastroenteritis

giardiasis

helminthes, including flukes and worms

hepatitis

hookworm disease

infectious hepatitis

meningitis

muscle aches

neurological symptoms, including nervousness and insomnia

poliomyelitis

respiratory infections, such as pneumonia

restlessness

salmonellosis (food poisoning)

taeniasis

toxoplasmosis

typhoid fever

vomiting

weight loss

environmental risks:

algal blooms

excess nutrient loads

fish kills

oxygen depletion

measures to protect public health:

auditing

contact avoidance

contact minimisation

disinfection and sterilisation

education

legislation

licensing

maintenance

separation barriers

set back distances

timing discharges

wet weather storage

cost-benefit analysis comparing:

the range of suitable materials and system choices available to enable cost-effective choices to be made without compromising integrity of project

water savings and environmental benefits against initial and ongoing maintenance costs

national water programs, statutory and regulatory requirements, relevant Australian Standards, and codes:

AS/NZS 1546 On-site domestic wastewater treatment units

AS/NZS 1547 On-site domestic wastewater management

AS/NZS 3500 Plumbing and drainage set

AS 2200 Design charts for water supply and sewerage

National Construction Code (NCC)

Commonwealth, state or territory government policies, including health departments

manufacturer requirements:

material specifications

grey water treatment systems

pump installation

pipe sizing

storage systems

technical and trade manuals

information gathered during desktop to support design purposes:

architectural and building plans

developer plans

manufacturer data

building applications

brochures

forms

policies

reports

performance requirements including compliance limits for:

bacteria levels

chlorine levels

nutrients

pH

phosphates

performance requirements established using relevant Australian Standards, codes and local authority plans:

cover

discharge

flow conditions

pipe grades

layout of pipework systems:

drainage systems

elevated pipework systems

gravity systems

pumped and rising mains

requirements for irrigation systems

requirements for flushing water systems

stack systems:

fully vented

fully vented modified

single stack

single stack modified

waste stack

two-pipe system

reduced velocity aerator system

layout of pipe work system design:

designing pipework systems to not unduly affect building integrity and aesthetic appeal

location of pipework (fire rating of enclosure)

demonstrating principles of economy, serviceability, durability and fit for use

fittings, valves and controls:

backflow prevention devices

irrigation control systems

isolating valves

level indicators

pump controls

land application options:

surface irrigation

subsurface irrigation

spray irrigation

storage tanks:

connections

containment

location

material

overflow provision

pumps

sizing

support

switches

valves

vermin control

pipe size and pump duty calculations:

calculating pipe sizing

calculating pressure and flow requirements

determining flow and fixture loadings

interpreting design charts and tables

pump well, pump and pump control requirements:

automatic controls

capacity

corrosion-resistant materials

detailing

high and low-level water controls and alarms

inlet and outlet design requirements

installation and mounting requirements

macerator requirements

pump sizing

pump well sizing

selection of pump type

valve requirements

warning system

materials:

copper (Cu)

polypropylene (PP)

polybutylene (PB)

polyethylene (PE)

unplasticised polyvinyl chloride (uPVC)

other approved material

jointing methods:

brazing

compression joints

electrofusion welding

mechanical joints

solvent cement

threading

other approved jointing methods

pipe supports:

anchors

bedding

bracket spacing

concrete support

corrosion protection

manufacturer-recommended specific fixings

material requirements

provision for expansion

saddles

installation requirements:

pipe protection such as:

cover

corrosion

impact

fire rating

level of workmanship

manufacturer-recommended specific fixings

pipe support

provision for expansion

serviceability and access

methods for applying sustainability principles and concepts:

selecting appropriate material to ensure minimal environmental impact

efficient use of material

efficient energy usage/capital outlay comparison

local environment consideration

water efficiency

re-use of greywater

consideration of the Green Building Council of Australia rating scheme

types of plans:

axonometrics

cross-sections

details

elevations

isometrics

sections

schematics produced using:

computer generation

drawing equipment

specification:

backflow prevention

flow requirements

jointing

manufacturer requirements

materials

residual pressures

work health and safety (WHS)

specialised components

storage

support

testing

valve selection

water treatment

workmanship

testing for:

air pressure

backflow protection

defect inspection

drainage inspection

hydrostatic

performance:

flow

pressure

water quality

quality assurance (QA) audit

commissioning schedule information:

balancing disposal system

flow and pressure adjustments

leak check

pump settings

pressure test

safety requirements

system certification

system flushing

system defects

system functions as per design

system purge

valve operation

ventilation

vermin control

operation and maintenance manual information:

as installed drawings

certification documentation

land application compliance checks

maintenance schedules

manufacturer brochures

ongoing maintenance requirements

pump maintenance

regular inspections

results of commissioning test

safety management system

surface ponding checks

system detail, setting and operations

valve function

system operational parameter adjustments and checks:

chlorine levels

dissolved oxygen

nitrates

pH

phosphates

suspended solids

water quality.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad