# CPCPPS5026 Design rainwater collection, storage, distribution and re-use systems

Release: 1

CPCPPS5026 Design rainwater collection, storage, distribution and re-use systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPPS5026A Design rainwater collection, storage, distribution and re-use systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to design systems for the collection, storage, distribution and re-use of rainwater for drinking and non-drinking uses, including irrigation, toilet flushing and other uses approved by relevant authorities for high-rise mixed development buildings and wide span projects, such as a school or industrial complex.

The role involves interaction with architects, builders, suppliers, clients and relevant planning authorities and requires a sound understanding of applicable legislation, standards and codes.

The unit requirements are typically carried out by experienced people such as hydraulic design consultants or design engineers.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing and Fire Services

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Evaluate design parameters. | 1.1 | Establish scope of work for rainwater harvesting systems for wide span and high-rise building projects. |
|  |  | 1.2 | Establish performance requirements considering safety of system users or building occupants. |
|  |  | 1.3 | Determine design requirements from relevant Australian Standards, codes, plans, specifications and client brief. |
|  |  | 1.4 | Apply sustainability principles and concepts as part of the design process. |
|  |  | 1.5 | Analyse potential contamination sources and create design solutions. |
|  |  | 1.6 | Establish rainfall patterns and required rainwater storage volumes. |
|  |  | 1.7 | Interpret manufacturer requirements and trade and technical manuals for rainwater harvesting systems. |
|  |  | 1.8 | Conduct research to outline design parameters. |
|  |  | 1.9 | Conduct cost-benefit analysis to compare a range of pipe materials and system designs. |
| 2 | Plan and detail system. | 2.1 | Specify tank type and location. |
|  |  | 2.2 | Plan layout of pipework systems including type and location of fittings, valves and controls. |
|  |  | 2.3 | Plan and detail first-flush systems. |
|  |  | 2.4 | Specify water contamination solutions and filtration systems. |
|  |  | 2.5 | Calculate pipe size for a range of applications. |
|  |  | 2.6 | Plan and detail separation of services and backflow prevention devices. |
|  |  | 2.7 | Specify approved non-contaminating materials and jointing methods for rainwater harvesting and design pipe supports. |
|  |  | 2.8 | Size and detail pump and ancillary requirements. |
|  |  | 2.9 | Specify installation requirements. |
|  |  | 2.10 | Specify water treatment according to state and territory health requirements. |
|  |  | 2.11 | Specify vermin protection according to manufacturer and state and territory requirements. |
|  |  | 2.12 | Provide allowance for expansion and contraction. |
| 3 | Design and size systems. | 3.1 | Design and detail rainwater harvesting systems. |
|  |  | 3.2 | Design and detail rainwater re-use systems. |
|  |  | 3.3 | Design and size rainwater harvesting systems using calculations and manufacturer’s data sheets. |
| 4 | Prepare documentation. | 4.1 | Produce client brief of the preferred design. |
|  |  | 4.2 | Prepare plans and specifications for a range of rainwater harvesting systems. |
|  |  | 4.3 | Prepare testing and commissioning schedule. |
|  |  | 4.4 | Produce operation and maintenance manual. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPPS5026A Design rainwater collection, storage, distribution and re-use systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCPPS5026 Design rainwater collection, storage, distribution and re-use systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPPS5026A Design rainwater collection, storage, distribution and re-use systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

designing, sizing and documenting the layout details for:

a high-rise mixed development building, and

a wide span project such as a school or industrial complex

preparing plans and specifications for each of the above projects and include the following system components:

authority connection

backflow prevention requirements

filters

fixtures and fitments

piping systems

pumps

storage

water treatment

documenting the evaluation of design parameters including rainfall, client, regulatory, manufacturer and relevant Australian Standard requirements and storage capacity for each design

preparing plans and specifications for rainwater harvesting and re-use systems to industry standards.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

common terminology and definitions used in the design of rainwater collection, storage, distribution and re-use

key features of work plans and specifications

nature of materials used and effects of performance under various conditions

organisational quality procedures and processes

principles of technology in the design of rainwater collection, storage, distribution and re-use for residential, commercial and industrial applications to include water treatment and backflow protection of drinking and non-drinking water supply systems

terminology and definitions used in hydraulic design

work health and safety (WHS) requirements, including relevant statutory regulations, codes and standards

scope of work:

interpreting plans and specifications

rainfall analysis

sizing and documenting layout of rainwater harvesting systems for residential, commercial and industrial applications to include water treatment and backflow protection of drinking and non-drinking water supply systems

design requirements:

architectural plans

building specifications

owner requirements

pipework identification

sizing of pipework

backflow protection of drinking and non-drinking water supply systems

water treatment

specialist water use applications

contamination:

bacterial

heavy metal

inorganic

odour

organic

taste

silt

viral

vermin

cost-benefit analysis comparisons of:

design styles

energy costs

expected design life

labour costs

material costs

safety factors

speed of installation

suitable materials

statutory, regulatory requirements and relevant Australian Standards and codes:

AS/NZS 3500 Plumbing and drainage set

AS 2200 Design charts for water supply and sewerage

National Construction Code (NCC)

manufacturer requirements:

material specifications

pipe sizing

pump installation

storage system

technical and trade manuals

information gathered through desktop study to support design purposes:

architectural and building plans

developer plans

manufacturer data

building applications

brochures

forms

policies

reports

performance requirements:

compliance limits for:

bacteria levels

nutrients

pH

silt control

vermin protection

overflow discharge requirements

requirements established using relevant Australian Standards, codes and local authority plans for:

cover

discharge

flow conditions

pipe grades

tank types:

concrete

fibreglass

metal

polymer

other approved materials

tank locations:

above-ground

in-ground

layout of pipework systems:

gravity systems

pumped systems

designing to not unduly affect building integrity and aesthetic appeal

designing to include principles of economy, serviceability, durability and fit for use

fittings, valves and controls:

backflow prevention devices

inspection openings

irrigation control systems

isolating valves

level indicators

pump controls

first-flush systems:

electronic

float-activated

mechanical

volume-activated

filtration systems:

overflow devices

sand

screens

settlement tanks

strainers

water contamination solutions:

disinfection

ultraviolet

pipe size calculations:

determination of flow

interpretation of design charts and tables

pipe sizing calculations

reduced level calculations

materials:

copper (Cu)

polyethylene (PE)

polypropylene (PP)

polybutylene (PB)

unplasticised polyvinyl chloride (uPVC)

other approved materials

jointing methods:

brazing

compression joints

electrofusion welding

mechanical joints

solvent cement

threading

other approved jointing methods

pipe support:

anchors

bedding

bracket spacing

concrete support

corrosion protection

manufacturer-recommended specific fixings

material requirements

provision for expansion

saddles

pump and ancillary requirements:

automatic controls

pump duties

corrosion-resistant materials

level controls and alarms

pump selection and pump sizing, based on:

flow

velocity

lift

probable simultaneous demands

installation requirements:

level of workmanship

manufacturer-recommended specific fixings

pipe support

provision for expansion

serviceability and access

pipe protection:

cover

corrosion

impact

fire rating

rainwater re-use systems:

roof water collection

water treatment

pumps

approved drinking and non-drinking use

storage:

tanks

open in-ground (dam)

methods for applying sustainability principles and concepts:

selecting appropriate material to ensure minimal environmental impact

efficient use of material

efficient energy usage/capital outlay comparison

local environment consideration

water efficiency

re-use of greywater

consideration of the Green Building Council of Australia rating scheme

types of plans:

axonometrics

cross-sections

details

elevations

isometrics

sections

schematics produced using:

computer generation

drawing equipment

specification:

backflow prevention

flow requirements

jointing

manufacturer requirements

materials

residual pressures

work health and safety (WHS)

specialised components

storage

support

testing

valve selection

water treatment

workmanship

testing for:

air pressure

backflow protection

defect inspection

drainage inspection

hydrostatic

performance:

flow

pressure

water quality

quality assurance (QA) audit

commissioning schedule information:

balancing disposal system

flow and pressure adjustments

leak check

pressure test

pump settings

safety requirements

system certification

system defects

system flushing

system functions as per design

system purge

valve operation

ventilation

vermin control

operation and maintenance manual information:

as installed drawings

certification documentation

maintenance schedules

manufacturer brochures

ongoing maintenance requirements

pump maintenance

regular inspections

results of commissioning test

safety management system

system detail, setting and operations

valve function

system operational parameter adjustments and checks:

disinfection

first flush devices

pH

silt control

suspended solids

water quality.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad