# Assessment Requirements for CPCPPS5027 Design irrigation systems

Release: 1

Assessment Requirements for CPCPPS5027 Design irrigation systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPPS5027A Design irrigation systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

designing, sizing and documenting layout details of an irrigation system including specification for a:

sports oval incorporating stormwater collection and use, with a mains pressure drinking water top-up and with chemical additives

a landscaped area for a mixed development site connected to a main pressure recycled (non-drinking) water main

evaluating and documenting design parameters to relevant Australian Standards and codes, and regulatory, client and manufacturer requirements

planning and detailing system components that include:

backflow prevention devices

irrigation management-control system

pumping requirements

water delivery outlets

piping requirements

designing and sizing two irrigation systems, using appropriate calculations and computer software for specific applications.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

statutory and regulatory requirements related to designing irrigation systems including:

Commonwealth government

state or territory governments

local authorities

AS/NZS 3500 National plumbing and drainage

AS2200 Design charts for water supply and sewerage

National Construction Code (NCC)

state or territory health departments

common terminology and definitions used in the design of irrigation systems

design requirements including:

architectural plans

backflow requirements

interpretation and application of irrigation services, drawings and symbols

irrigation management system

owner requirements

precipitation and evaporation rates

pumping requirements

required water application to establish and maintain plant life

source of irrigation water

sprinkler head systems

system requirements

water storage requirements

cost-benefit analysis comparing the range of suitable materials and system choices available to enable cost-effective choices without compromising the integrity of the project

manufacturer requirements including:

irrigation management system

material specification

pump tables

sprinkler head performance

sub-surface irrigation

technical and trade manuals

nature of materials used and effects of performance under various conditions including:

composite pipework

copper (Cu)

cross-linked polyethylene (PE-X)

polypropylene (PP)

polybutylene (PB)

polyvinyl chloride (PVC)

characteristics and application of different backflow prevention devices including:

double-check valve assembly (DCV)

dual-check valve with intermediate vent (DuCV)

pressure type vacuum breaker (PVB)

reduced pressure zone device (RPZD)

registered air gap (RAG)

registered break tank (RBT)

reduced pressure detector assembly (RPDA)

reduced pressure zone device (RPZD)

other approved backflow prevention devices

layout of pipework systems including:

distribution

dual feed systems

range pipes

ring main

single pipe

control stations

sections and components of the irrigation systems including:

irrigation stations

manifold systems

sensors

automatic controls

sprinklers, drippers and irrigators

sprinkler patterns

testing and commissioning schedule requirements including:

defect inspection

hydrostatic

mains pressure

performance

quality assurance (QA) audit

system certification

flow test

leak check

pressure test

system defect

system functions as per design

valve and system operation

operation and maintenance manual requirements including:

as installed drawings

results of commissioning test

certification documentation

maintenance schedules

manufacturer brochures and technical information

operational procedures

valve function

installation requirements including:

pipe connection

bedding and backfilling

corrosion

cover

ground stability

impact

level of workmanship

manufacturer recommendations

pipe support

provision for pipe movement

serviceability and access

delivery systems and layout requirements including:

main delivery

number and design control

design:

avoiding obstacles

irregular shapes

minimising water wastage

range of irrigation applications

range pipes

ring mains

size and water delivery of sprinklers

sprinkler head patterns and placement

plans and specification requirements including:

plans:

axonometrics

cross-sections

details

elevations

isometrics

schematics

sections

specifications:

bedding

flow requirements

irrigation management control system

jointing

manufacturer requirements

materials

pumps

residual pressures

work health and safety (WHS)

specialised components

sprinkler head selection

storage tanks

support

testing

valve selection

water treatment

workmanship

principles of technology used in the design of irrigation systems for a range of applications

characteristics of different soil types and the impact on the irrigation systems design

characteristics and application of different of fittings, valves and controls

characteristics and application of different jointing methods

flow and pressure testing procedures

information required to undertake a desktop study to outline design parameters

pipe support design requirements

sustainability principles and concepts including:

selecting appropriate material to ensure minimal environmental impact

efficient use of material

efficient energy usage/capital outlay comparison

water efficiency

re-use of water, such as rainwater, grey water and recycled non-drinking water

consideration of the Green Building Council of Australia rating scheme.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad