# CPCPPS5028 Design trade waste pre-treatment systems

Release: 2

CPCPPS5028 Design trade waste pre-treatment systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.5. Change to Performance Criteria 4.1. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPPS5028A Design trade waste pre-treatment systems. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to design trade waste pre-treatment systems for commercial and industrial premises, such as commercial kitchens and laundries, mechanical workshops and commercial swimming pools, prior to discharge to authority’s point of sewer connection.

The role involves interaction with architects, builders, suppliers, clients and relevant planning authorities and requires a sound understanding of applicable legislation, standards and codes.

The unit requirements are typically undertaken by experienced tradespeople such as hydraulic design consultants or persons in a supervisory capacity in relation to plumbing services on a new or existing site.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing and Fire Services

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Evaluate design parameters. | 1.1 | Establish scope of work for trade waste pre-treatment systems prior to discharge to authority’s point of sewer connection. |
|  |  | 1.2 | Establish performance requirements considering safety of system users or building occupants. |
|  |  | 1.3 | Determine design requirements from relevant Australian Standards, codes, plans, specifications, authorities’ requirements and client brief. |
|  |  | 1.4 | Apply sustainability principles and concepts as part of the design process. |
|  |  | 1.5 | Interpret manufacturer requirements and trade and technical manuals. |
|  |  | 1.6 | Conduct research to outline design parameters. |
|  |  | 1.7 | Analyse trade waste applications and conduct a cost-benefit analysis to compare a range of pipe materials and system designs. |
| 2 | Plan and detail system components. | 2.1 | Plan layout of pipework systems including type and location of fittings and controls. |
|  |  | 2.2 | Plan and detail solid removal systems. |
|  |  | 2.3 | Plan and detail grease and oil interceptors, neutralising chambers and wash-down areas incorporating stormwater exclusion. |
|  |  | 2.4 | Plan and detail diffused air flotation systems. |
|  |  | 2.5 | Detail bacterial treatment processes and combined and specialised treatment processes for a range of commercial and industrial applications. |
|  |  | 2.6 | Incorporate general housekeeping procedures to minimise discharge of trade waste. |
|  |  | 2.7 | Perform system calculations for a range of applications. |
|  |  | 2.8 | Size and detail pump well, pumps, controls and equipment requirements. |
|  |  | 2.9 | Design pipe supports for a range of applications. |
|  |  | 2.10 | Specify approved materials, jointing methods and installation requirements for trade waste pre-treatment systems. |
| 3 | Design and size systems. | 3.1 | Design and size trade waste pre-treatment systems for commercial and industrial premises. |
|  |  | 3.2 | Design and size trade waste pre-treatment systems using calculations and local authorities and regulators’ policies and requirements. |
|  |  | 3.3 | Design flow monitoring systems for trade waste applications. |
|  |  | 3.4 | Design venting of trade waste systems to comply with local authority requirements. |
| 4 | Prepare documentation. | 4.1 | Produce a return client brief of the preferred design. |
|  |  | 4.2 | Prepare plans and specifications for trade waste pre-treatment systems. |
|  |  | 4.3 | Prepare testing and commissioning schedule. |
|  |  | 4.4 | Produce operation and maintenance manual including information on how to properly and safely maintain the system. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPPS5028A Design trade waste pre-treatment systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCPPS5028 Design trade waste pre-treatment systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.5. Change to Performance Criteria 4.1. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPPS5028A Design trade waste pre-treatment systems. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

designing, sizing and documenting the installation and layout details for two trade waste pre-treatment systems from the following:

chemical facilities

commercial kitchen

commercial and industrial facilities that produce a liquid waste stream

commercial and industrial laundry

food preparation facilities

laboratories

motor vehicle workshops

photography development facilities

commercial swimming pool

wash-down facilities

preparing plans and specifications to industry standards for both selections

documenting the evaluation of design parameters including client, regulatory, manufacturer and relevant Australian Standard requirements for each design.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

hazards associated with devices and systems used in the hydraulic sector

design of the options for the pre-treatment of trade waste

approved installation methods for trade waste pre-treatment systems

key features of work plans and specifications

nature of materials and effect of their performance in a variety of conditions

organisational quality procedures and processes

terminology and definitions used in hydraulic design

work health and safety (WHS) requirements, including relevant statutory regulations, codes and standards

scope of work:

interpreting plans and specifications

sizing and documenting layout of trade waste pre-treatment systems for commercial and industrial applications

design requirements:

architectural plans

building specifications

cleaning and maintenance procedures

installation requirements

odour control

owner requirements

pipework identification

sizing

trade waste treatment

ventilation

statutory and regulatory requirements and relevant Australian Standards and codes which may include:

AS/NZS 3500 Plumbing and drainage set

AS 2200 Design charts for water supply and sewerage

Commonwealth, state or territory and local governments requirements

National Construction Code (NCC)

utility provider’s trade waste regulations

other relevant Australian Standards and codes

trade waste applications:

chemical facilities

commercial kitchen

commercial and industrial facilities that produce a liquid waste stream

commercial and industrial laundry

food preparation facilities

laboratories

motor vehicle workshops

photography development facilities

commercial swimming pool

wash-down facilities

cost-benefit analysis comparisons:

design styles

energy costs

expected design life

labour costs

material costs

safety factors

speed of installation

suitable materials

authorities’ requirements

manufacturer requirements:

containment

design and installation

installation space

material specifications

pipe sizing

pump installation

storage systems

technical and trade manuals

ventilation

information gathered through desk top study to support design purposes:

architectural and building plans

developer plans

manufacturer data

building applications

brochures

forms

policies

reports

performance requirements to:

establish acceptable discharge standards for the relevant authority

comply with relevant Australian Standards, codes and local authorities’ requirements

layout of pipework systems:

location of pipework (fire rating of enclosure)

trade waste plumbing and drainage

pumped systems

accessibility

designing to not unduly affect building integrity and aesthetic appeal

designing to include principles of economy, serviceability, durability and fit for use

fittings:

bends

junctions

reflux valves

inspection openings

expansion joints

solid removal systems which remove:

bone

dirt

grit

metal

paper

plastic

rubbish

sand

silt

wood

other solid contaminants

grease and oil interceptors:

coalescing plate separators (CPS)

vertical gravity separators (VGS)

dissolved air flotation (DAF)

grease arrestors

skimmers

neutralising chambers which neutralise:

acid

alkaline

chemicals

wash-down areas:

bin

commercial and industrial wash-down processes that may or may not require stormwater diversion

floor

vehicle

machinery

bacterial treatment processes:

aerobic

anaerobic

facultative and specialised bacteria for the removal of grease and other contaminants

combined and specialised treatment processes:

bacterial treatment

cooling pits

diffused air flotation systems

neutralising chambers

solid removal systems

specialised treatment

system calculations:

calculating gradient

interpreting design charts and tables

calculating pipe sizing

calculating reduced level

determining flow and fixture loadings

sizing treatment system

storage tank capacity

pump well, pumps, controls and equipment requirements:

access covers

automatic controls

capacity

chains

corrosion-resistant materials

detailing

emergency storage

high and low-level water controls and alarms

impeller sizing

inlet and outlet design requirements

installation and mounting requirements

ladder access

odour control

macerator requirements

pump selection

pump sizing

pump well sizing

space requirements

step irons

valve requirements

ventilation

warning system

pipe supports:

anchors

bedding

bracket spacing

concrete support

corrosion protection

cover

hanging brackets

manufacturer-recommended specific fixings

material requirements

saddles

provision for expansion

wall and ceiling brackets

materials:

pipes:

cast iron or epoxy lined

earthenware or vitrified clay pipe (VCP)

polyethylene (PE)

polypropylene (PP)

other approved material

fittings and fixtures, including sound attenuation requirements

jointing methods:

electrofusion welding

mechanical joints

rubber ring

threading

installation requirements:

bedding

fire rating

level of workmanship

manufacturer-recommended specific fixings

pipe support

provision for expansion

serviceability and access

pipe protection:

cover

corrosion

impact

computer software packages including:

proprietary design software

manufacturer software

methods of applying sustainability principles and concepts:

selecting appropriate material to ensure minimal environmental impact

efficient use of material

efficient energy usage/capital outlay comparison

effect on the environment due to overflow or leakage

material selected to convey the type of discharge

water efficiency

types of plans:

axonometrics

cross-sections

details

elevations

isometrics

sections

schematics produced using:

computer generation

drawing equipment

specification:

access chambers (manholes)

bedding

commissioning

concrete support and detailing specialised components

jointing

manufacturer requirements

materials

pumps

WHS

support

testing

workmanship

testing for:

air pressure

compliance with authorities’ discharge requirements

drainage inspection

hydrostatic

performance

quality assurance (QA) audit

commissioning schedule information:

checking for foreign material

checking system defects

checking that system functions as per design

containment

leak check

operational commissioning

pump commissioning

system certification

treatment system commissioning

operation and maintenance manual information:

as installed drawings

certification documentation

results of commissioning test

maintenance schedules

manufacturer brochures and technical information

odour control

regular treatment system maintenance

regular water quality testing

ventilation

water auditing.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad