# Assessment Requirements for CPCPPS5030 Design pump systems

Release: 2

Assessment Requirements for CPCPPS5030 Design pump systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.5. Change to Performance Criteria 4.1. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPPS5030A Design pump systems. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

designing, sizing and documenting water and wastewater pumping systems required for the hydraulic services installation of:

a high-rise mixed development building to a minimum of 29 floors, including a basement with fixtures on all levels, and

a wide span project (such as a school or industrial complex)

planning and detailing both system components and include:

ancillaries

control panel

fittings

flow switches

mounting

piping

plinths

pressure switches

pump duty.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

hazards associated with pumping equipment used in hydraulic systems

key features of work plans and specifications

approved installation methods for pump systems

principles of technology in the design of pump installations for hydraulic systems

research methods

terminology and definitions used in pump installation

work health and safety (WHS) requirements, including relevant statutory regulations, codes and standards

scope of work:

interpretation of plans and specifications

sizing and documenting layout of pump systems for wide span and high-rise building projects

pump types:

centrifugal

circulating

constant flow variable speed

macerator

multiple stage

piston

positive displacement

submersible

vacuum

variable speed control

pump duties:

constant pressure

flow rate

head

velocity

design requirements:

acoustic performance

architectural plans

available flow and pressure from authority’s main

building specifications

fire safety

owner’s requirements

pipework identification

pump duty

sizing of pipework

ventilation

vibration

viscosity of fluids

cost-benefit and life cycle analysis:

balancing initial cost with durability, longevity, maintenance and ongoing fuel and energy cost requirements

comparing the range of suitable materials, pumps and system designs available to enable cost-effective choices to be made without compromising integrity of project

cost-benefit considerations:

design

energy costs

expected design life

labour costs

material costs

safety factors

speed of installation

suitable materials

statutory and regulatory requirements which may include Acts and regulations Commonwealth, state or territory and local government requirements

Australian Standards and codes:

AS/NZS 3500 Plumbing and drainage set

AS 2419 Fire hydrant installations system design, installation and commission

AS/NZS 1547 On-site domestic wastewater management

AS 2200 Design charts for water supply and sewerage

National Construction Code (NCC)

other relevant Australian Standards

manufacturer requirements:

material installation specifications

pump tables

pipe sizing

recommended installation and fixings for pipework

technical and trade manuals

ventilation requirements

information gathered during desktop study to support design research:

architectural and building plans

developer plans

manufacturer data

applications

brochures

forms

policies

reports

flow and pressure tests which may include on-site measurement of flow (l/s), velocity (m/s) and pressure (kPa)

performance requirements including flow, velocity, pressure and discharge requirements, to satisfy the requirements of the hydraulic system

pump, controls and pump room requirements:

acoustics

ancillaries

automatic controls

inlet and outlet design

installation and mounting

plinths

pump sizing and selection

space

ventilation

vibration

layout of pipework systems:

access

identification

insulation

isolation

maintenance

principles of economy, serviceability, durability and fit for use

replacement

fittings:

bends

flanges

inlet and outlet pressure gauges

tees

unions

valves:

air relief

excess pressure

isolating

non-return

pressure limiting

pressure reduction

strainers

vibration couplings

energy sources:

diesel and diesel-electric generator sets

electrical, single phase and three-phase

petrol

pump plinth bases designed to resist forces exerted by pump:

concrete

masonry

timber

steel

pump mountings:

anchoring bolts

inertia pads

rubber and synthetic

spring loaded

vibration mounts

piping materials:

copper (Cu)

galvanised steel

stainless steel

polyethylene (PE)

polypropylene (PP)

polybutylene (PB)

other approved material

pump materials:

cast iron

bronze

stainless steel

other appropriate materials

jointing methods:

brazing

electrofusion welding

mechanical joints

other approved jointing method

installation requirements:

pipe protection:

corrosion

impact

fire rating

level of workmanship

manufacturer-recommended specific fixings

pipe support

provision for vibration

serviceability and access

thrust brackets

delivery systems:

circulation

constant flow variable speed pump

hydropneumatic

lift

pressure

rising main

vacuum

methods of applying sustainability principles and concepts:

selecting appropriate material to ensure minimal environmental impact

efficient use of material

efficient energy usage/capital outlay comparison

effect on the environment due to pump or pipe failure

pump efficiency

types of plans:

axonometrics

cross-sections

details

elevations

isometrics

sections

schematics produced using:

computer generation

drawing equipment

specification:

acoustic performance

fire safety

jointing

manufacturer requirements

materials

pump duty

residual pressures

WHS

specialised components

support

testing

valve selection

vibration control

workmanship

testing of:

defect inspection

hydrostatic

performance

quality assurance (QA) audit

commissioning schedule information:

system certification

exhaust pipe check

flow check

leak check

pressure check

system purge

system defects

system functions as per design

valve operation

acoustic performance

operation and maintenance manual information:

as installed drawings

results of commissioning test

certification documentation

emergency shutdown procedures

maintenance schedules

manufacturer brochures and technical information

valve function.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad