# CPCPPS5032 Design siphonic stormwater drainage systems

Release: 1

CPCPPS5032 Design siphonic stormwater drainage systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPPS5032A Design siphonic stormwater drainage systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to design siphonic stormwater drainage systems, determine installation details, and prepare specifications for a range of residential, commercial and industrial buildings.

The role involves interaction with architects, builders, suppliers, clients and relevant planning authorities and requires a sound understanding of applicable legislation, standards and codes.

The unit requirements are typically carried out by experienced people such as hydraulic design consultants or persons in a supervisory capacity in relation to plumbing services on a new or existing site.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing and Fire Services

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Evaluate design parameters. | 1.1 | Establish scope of work for siphonic stormwater drainage systems. |
|  |  | 1.2 | Determine design parameters from relevant statutory and regulatory requirements, codes, plans, specifications and client brief. |
|  |  | 1.3 | Establish performance requirements considering safety of system users or building occupants. |
|  |  | 1.4 | Apply sustainability principles and concepts as part of the design process. |
|  |  | 1.5 | Interpret stormwater design manuals, manufacturer requirements and trade and technical manuals |
|  |  | 1.6 | Conduct additional research, including a desktop study, to outline design parameters. |
|  |  | 1.7 | Determine factors that contribute to quality, safety and time efficiency. |
|  |  | 1.8 | Evaluate siphonic system attributes and conduct cost-benefit analysis, comparing a range of pipe materials and system designs. |
| 2 | Plan and detail system components. | 2.1 | Integrate siphonic stormwater drainage systems with the building structure. |
|  |  | 2.2 | Calculate volume of roof water and stormwater using approved methods. |
|  |  | 2.3 | Plan layout of pipework systems including type and location of fittings. |
|  |  | 2.4 | Calculate pipe size and flow requirements for applications according to stormwater collection requirements. |
|  |  | 2.5 | Plan pipe supports for applications. |
|  |  | 2.6 | Specify approved materials and components, jointing methods and installation requirements for siphonic stormwater drainage systems. |
| 3 | Design and size systems. | 3.1 | Design siphonic stormwater drainage systems for applications. |
|  |  | 3.2 | Calculate catchment areas, determine collection points and size siphonic systems. |
|  |  | 3.3 | Design and size siphonic stormwater drainage systems using calculations and computer software packages. |
| 4 | Prepare documentation. | 4.1 | Prepare client brief of the preferred design. |
|  |  | 4.2 | Prepare plans and specification for siphonic stormwater drainage systems. |
|  |  | 4.3 | Prepare testing and commissioning schedule. |
|  |  | 4.4 | Produce operation and maintenance manual, including information on how to properly and safely maintain the system. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPPS5032A Design siphonic stormwater drainage systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCPPS5032 Design siphonic stormwater drainage systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPPS5032A Design siphonic stormwater drainage systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

designing, sizing and documenting the layout details, including a specification for two siphonic stormwater drainage system that include:

a site incorporating a high-rise mixed development building

a wide span project (such as a large bulk goods warehouse)

preparing documentation which includes:

evaluation and details of design parameters relevant to codes and manufacturer requirements for siphonic stormwater drainage systems

evaluation of health risks associated with the siphonic system

materials and components that are compliant, fit for purpose, durable, compatible and cost-effective.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

common terminology and definitions used in the design of siphonic stormwater drainage systems for residential, commercial and industrial buildings

drafting principles

nature of materials used and effects of performance under various conditions

procedures for estimating volume of stormwater run-off from rainwater collection areas

principles of technology in the design of siphonic stormwater drainage systems

work health and safety (WHS) requirements, including relevant statutory regulations, codes and standards

scope of work:

calculation of rainfall intensities in given catchment areas:

average rainfall intervals

meteorological information

rainfall intensities

stormwater collection area calculations

time and concentration

interpretation of plans and specifications

sizing and documenting layout of siphonic stormwater drainage systems for residential, commercial and industrial applications

design requirements:

owner requirements

architectural plans

building specifications

pipework identification

catchment area

approved point of discharge

acoustic performance

siphonic system attributes:

availability

cost

installation requirements

risks

site conditions

cost–benefit analysis to enable cost-effective choices to be made without compromising integrity of project:

design styles

expected design life

labour costs

material costs

safety factors

speed of installation

statutory and regulatory requirements and relevant Australian Standards and codes:

AS/NZS 3500 Plumbing and drainage set

AS 2200 Design charts for water supply and sewerage

Geberit or equivalent approved siphonic drainage system design criteria

Commonwealth, state or territory requirements and local governments requirements

National Construction Code (NCC)

other relevant Australian Standards and codes

manufacturer requirements:

material specifications

sizing tables

technical and trade manuals

special siphonic drainage collection inlets

information gathered during desktop study:

architectural and building plans

manufacturer data

developer plans

applications

brochures

forms

policies

reports

performance requirements, including pipe flow velocities, flow conditions and discharge requirements established using relevant Australian Standards, codes and local authorities’ requirements

layout of pipework systems:

acoustic performance

amenity of the building

clipping and pipe support

fireproofing

function of the building

impingement on floor heights

location of pipework (fire rating of enclosure)

materials to be used

size of penetrations

type of building structure

principles of economy, serviceability, durability and fit for use

design which does not unduly affect building integrity and aesthetic appeal

fittings:

bends

junctions

pipe size and flow requirement calculations:

discharge

flow

manufacturers’ tables

sizing, according to relevant Australian Standards and codes

velocity

volumes

pipe supports:

anchors

bracket spacing

corrosion protection

cover

hanging brackets

material requirements

saddles

wall and ceiling brackets

acoustic resilient mounts

appropriate materials specified, based on fit for purpose, durability, compatibility and cost-effectiveness:

copper (Cu)

polyethylene (PE)

polypropylene (PP)

stainless steel

other approved material

clips

fasteners

fittings

pipework

siphonic collection inlets

jointing methods:

brazing

electrofusion welding

mechanical joints

rubber ring

other approved jointing methods

installation requirements:

fire rating

level of workmanship

manufacturer-recommended specific fixings

pipe support

provision for expansion

serviceability and access

pipe protection:

corrosion

impact

computer software packages:

manufacturer software

proprietary design software

methods of applying sustainability principles and concepts:

selecting appropriate material to ensure minimal environmental impact

efficient use of material

efficient energy usage/capital outlay comparison

effect on the environment due to overflow or leakage

consideration of the Green Building Council of Australia rating scheme

types of plans:

axonometrics

elevations

details

cross-sections

isometrics

schematics

sections

plans produced using:

computer generation

drawing equipment

specification:

commissioning

bedding

support

jointing

manufacturer requirements

materials

testing

workmanship

WHS

testing:

hydrostatic test

inspection

performance

quality assurance (QA) audit

commissioning schedule information:

system certification

checking for foreign material

checking leaks

cleaning grates

system defects

system functions as per design

operation and maintenance information:

as installed drawings

certification documentation

results of commissioning test

maintenance schedules

manufacturer brochures and technical information

check for blockages

leak detection

regular inspection

regular maintenance requirements.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad