# Assessment Requirements for CPCPRE3001 Patch prefabricated components of concrete elements

Release: 1

Assessment Requirements for CPCPRE3001 Patch prefabricated components of concrete elements

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 9.0. Newly created unit. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by patching components within a precast element, including:

a Stitch Plate recess (200mm x 200mm x 35mm deep min.) and any two of the following:

a lifting insert void former (5 tonne lifting insert recess min.)

a cast-in-insert recess (M20 ferrule nailing plate recess)

a grouting duct (50mm diameter grout duct recess).

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

compliance requirements of legislation, regulations, codes and Australian Standards relevant to concrete patching, in particular for the repair of prefabricated concrete elements:

environmental protection and waste disposal

work health and safety (WHS) regulations, including:

use of personal protective equipment (PPE)

fall protection

risk when working at heights/on ladders

drop zones

hazardous substances

safe manual handling techniques

safety when working at heights

respirable crystalline silica

SA HB 84-2018 Guide to Concrete Repair and Protection

detrimental effect of water addition to concrete properties

precautions that should be taken to minimise any potential adverse effects to the use of varying patching materials

types of procedures, drawings and specifications used to interpret prefabricated concrete element patching requirements

approved repair procedure

material data sheets

manufacturer specifications for patching agents

types of prefabricated concrete element patching, including:

treatment of cracks

surface preparation for volume replacements

cosmetic volume replacements

structural volume replacements

priming and surface preparation

installation of supplementary reinforcement

repair layering and build-up

fairing coats, colour and texture matching

concrete sealing and methods of injection

prefabricated component of concrete element patching considerations, including:

physical/permeability compatibility

chemical compatibility

electrochemical compatibility

dimensional stability – coefficient of thermal expansion, modulus of elasticity and drying shrinkage

prefabricated component of concrete element patching evaluation methods, including:

visual inspection and recording

hammer sounding/rebound hammer test

phenolphthalein test for carbonation

half-cell potential measurement

core-cutting

chemical analysis of prefabricated concrete element at different depths

workplace requirements when working with prefabricated concrete components and elements:

cleaning up the work area

maintaining and storing plant, labelling, tools and equipment

reporting problems

quality

fire rating requirements relevant to concrete prefabricated concrete elements rectification

workplace procedures related to communication protocols

repair procedure approval

principals of sustainability relevant to material reuse

work planning and logical task sequencing

types, characteristics and limitations of tools, equipment and materials required for the repair of prefabricated concrete elements, including:

stitch plate

ferrules

grout tubes

lifting points

hammers

jacks

podgers

spanners

tape measures

turn buckles

wedges

wrenches

jackhammer

scabbler

bush hammer

needle scaler

primers

low viscosity epoxy adhesives

curing compounds.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to documentation, approved repair procedure, manufacturer specifications, material data safety sheets, materials, plant, tools and equipment required to achieve the performance evidence.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad