# CPCPRF2024 Fabricate roof coverings for curved structures

Release: 2

CPCPRF2024 Fabricate roof coverings for curved structures

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Typographical error corrected in Element and Performance Criteria 3.4. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPRF2024A Fabricate roof coverings for curved structures. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to design and fabricate curved industrial roof coverings.

It covers drawing fabrication patterns based on sketches of roof coverings, calculating curve dimensions and selecting roofing materials for new or existing, domestic or commercial structures.

The unit is suitable for people with basic skills and knowledge who undertake routine work tasks under the direction of more experienced workers.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements

# Unit Sector

Plumbing and Fire Services

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Prepare for work. | 1.1 | Determine requirements roof coverings to be designed and fabricated based on plans and specifications. |
|  |  | 1.2 | Identify and apply workplace policies and procedures, work health and safety (WHS) and environmental requirements and sustainability principles associated with fabricating roof coverings for curved structures. |
|  |  | 1.3 | Consult with relevant personnel to plan and sequence tasks. |
|  |  | 1.4 | Prepare work area to support efficient fabrication of roof coverings. |
| 2 | Identify installation requirements. | 2.1 | Select roofing material that is suitable for the fabrication process, job requirements and relevant information. |
|  |  | 2.2 | Ascertain curvature of roof covering and use to determine the starting and finishing points of curves. |
|  |  | 2.3 | Create design and freehand sketch of the roof covering to form the basis of fabrication patterns. |
|  |  | 2.4 | Draw fabrication patterns based on design and freehand sketch of roof covering. |
| 3 | Fabricate covering. | 3.1 | Determine material list from patterns and calculations. |
|  |  | 3.2 | Determine method of fabrication, tools and machinery for fabrication to suit job requirements. |
|  |  | 3.3 | Select and check the serviceability of the appropriate tools, equipment and PPE reporting any faults according to workplace procedures. |
|  |  | 3.4 | Mark out and fabricate roof covering according to drawings, patterns or calculations. |
|  |  | 3.5 | Access information to complete documentation according to workplace procedures and submit within specified timeframes. |
| 4 | Clean up. | 4.1 | Clear the work area, and dispose of, reuse or recycle materials in accordance with state and territory legislation and workplace policies and procedures. |
|  |  | 4.2 | Clean tools and equipment, check for serviceability reporting any damage, store and secure. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPRF2024A Fabricate roof coverings for curved structures.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCPRF2024 Fabricate roof coverings for curved structures

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Typographical error corrected in Element and Performance Criteria 3.4. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPRF2024A Fabricate roof coverings for curved structures. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

designing and fabricating the curved roof coverings of a bull nosed verandah incorporating one internal and one external angle.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

capillary action, thermal expansion and fabrication techniques to prevent leaking installations

characteristics of various metals and finishes

uses and limitations of materials:

drawing materials

manufacturer catalogues and specifications

metal roof sheeting of concealed or fixed type and accessories

design concepts and performance measures for curved roof covering including

electrolysis and problems associated with the use of dissimilar metals

job safety environmental analysis (JSEA) and safe work method statements (SWMSs)

processes of designing and fabricating curved roof coverings:

barrel shaped

concave

convex

hyperbolic

paraboloid

processes for accessing information relevant to designing and fabricating roof coverings:

charts and hand drawings

instructions issued by authorised organisational or external personnel

manufacturer specifications and instructions

safety data sheets (SDSs)

memos

organisation work specifications and requirements

plans and sketches

regulatory and legislative requirements, particularly those pertaining to:

building codes

WHS and environmental requirements

plumbing regulations

relevant Australian standards

safe work procedures relating to the design, and fabrication of coverings for curved roofs

signage

verbal, written and graphical instructions

work bulletins

work schedules, plans and specifications.

different types of tools and equipment, their application and method of operation:

drafting equipment

hand and power tools

lifting and load shifting equipment

machinery for shaping the roof material

measuring equipment

processes for reporting faults according to company’s workplace procedures this includes both written and verbal

statutory and regulatory authorities:

Commonwealth government

state or territory governments

local authorities

SI system of measurements

safe work practices associated with designing and fabricating roof coverings for curved structures:

handling of materials

hazard control

personal protective clothing and equipment prescribed under legislation, regulations and workplace policies and practices

recognising and preventing hazards associated with:

electricity

hazardous materials and substances

service lines

surrounding structures and facilities

trip hazards

use of tools and equipment

work site visitors and the public

working at heights

working in proximity to others

use of firefighting equipment

use of first aid equipment

workplace environment and safety

environmental requirements and sustainability principles and concepts:

clean-up protection

stormwater protection

waste management

efficient energy

efficient use and recycling of material

disposing of waste material to ensure minimal environmental impact

selecting appropriate components to ensure minimal environmental impact.

quality assurance requirements:

Environment Protection Authority (EPA)

internal company quality assurance policy and risk management strategy

International Standards Organisation (ISO)

site safety plan

workplace operations and procedures.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad