# Assessment Requirements for CPCPRF3022 Fabricate and install roof drainage systems

Release: 1

Assessment Requirements for CPCPRF3022 Fabricate and install roof drainage systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPRF3022A Fabricate and install roof drainage components. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by using metal to fabricate and install:

a valley gutter

a fascia, including one internal and one external angle, that is attached to an approved support system and a minimum of three metres in length

an eaves gutter, including:

gutter support system

nozzle

stop end

internal and external angle

fall

overflow measure

expansion allowance

a downpipe, including:

offset

spreader

fixings

a box gutter, including:

overflow measures

sump or rainwater head

expansion allowance

gutter support system

ridged support

fasteners and sealants.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

current standards and codes for roof drainage systems:

National Construction Code (NCC)

AS/NZS 3500 Plumbing and drainage Set

HB39 Installation code for metal roof and wall cladding

types and sizes of gutters, downpipes and support system

installation requirements:

appropriate falls

pitches

overflow measures

support and fixings

cross-sectional area

expansions allowances

environmental conditions

approved sealants and fixings

capillary action

electrolysis

tools, materials and equipment used to fabricate and install roof drainage systems

work health and safety (WHS) requirements for fabricating and installing roof drainage systems.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad