# CPCPRF3024 Install roof components

Release: 3

CPCPRF3024 Install roof components

# Modification History

| Release 3 | This version first released with CPC Construction, Plumbing and Services Training Package Release 8.0. Update to Performance Criteria 3.2. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Typographical error corrected in Element and Performance Criteria 1.1. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPRF3024A Install roof components. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to install roof components. It includes flashing penetrations through a roof to maintain weatherproofing.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements

CPCPCM2055 Work safely on roofs

# Unit Sector

Plumbing and Fire Services

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Identify installation requirements. | 1.1 | Access, read and determine roof component installation requirements from job specifications, relevant Australian Standards, codes, manufacturers’ instructions and jurisdictional requirements. |
|  |  | 1.2 | Identify and apply workplace, work health and safety (WHS) and environmental requirements. |
| 2 | Prepare for work. | 2.1 | Create a materials list and collect materials. |
|  |  | 2.2 | Select appropriate tools and equipment including personal protective equipment (PPE). |
|  |  | 2.3 | Check roof structure for possible obstructions. |
|  |  | 2.4 | Identify any battens to be relocated, if required. |
|  |  | 2.5 | Identify any structural supports to be relocated and report to relevant persons for assessment, if required. |
| 3 | Install roof components. | 3.1 | Locate and set out opening for installation of components. |
|  |  | 3.2 | Relocate battens where required in accordance with jurisdictional legislation. |
|  |  | 3.3 | Perform installation, fixing and sealing of roofing components. |
| 4 | Clean up. | 4.1 | Clear the work area and dispose of, reuse or recycle materials in accordance with state or territory legislation and workplace requirements. |
|  |  | 4.2 | Clean tools and equipment, check for serviceability and report any damage, and store and secure. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPRF3024A Install roof components.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad