# Assessment Requirements for CPCPRF3026 Install roof sheets, wall cladding and complex flashings

Release: 2

Assessment Requirements for CPCPRF3026 Install roof sheets, wall cladding and complex flashings

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.5. Amended Performance Criteria 1.4, 2.2, 3.2, 4.1 through 4.4. Amended Performance Evidence. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is not equivalent to CPCPRF3026A Install composite roof systems. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

installing roof sheeting, wall cladding and insulation to a steep pitch roof structure not less than two metres wide and 1.5 metres long incorporating a dorma window or portico, draining onto a flat roof.

installing the following complex flashings to a roof structure incorporating a

complex junction with two barges and a rolled ridge over a dormer roof; and

dorma or portico valley installation penetrating and terminating through a steep pitched roof; and

a transition flashing to seal between the steep pitch roof and the flat roof.

Note: Jointing and sealing to be weatherproof.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

Safe Work Australia - Managing the risk of falls in housing construction, Code of Practice

sequential installation

battens and/or safety battens required spacings for:

600 mm truss spacing

>900 mm truss spacing

batten fixing requirements to roof trusses

roof components:

roof sheeting

wall cladding

flashing and capping

complex flashing

roof battens

fixings and fasteners

weathering

approved sealants

installation in bushfire prone areas

how to access relevant information, including codes and standards

tools, materials and equipment used to install roof sheeting, wall cladding and complex flashings

work health and safety (WHS) requirements to install roof sheeting, wall cladding and complex flashings.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad