# CPCPRF3027 Select and install a heritage roof system

Release: 2

CPCPRF3027 Select and install a heritage roof system

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Typographical error corrected in Element 1.1. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. New unit. |

# Application

This unit specifies the skills and knowledge to select and install a heritage roof system.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements

CPCPCM2055 Work safely on roofs

# Unit Sector

Plumbing and Fire Services

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Identify installation requirements. | 1.1 | Access, read and determine heritage roof sheeting installation requirements from job specifications, relevant Australian Standards, codes, manufacturers’ instructions and jurisdictional requirements. |
|  |  | 1.2 | Identify and apply workplace, work health and safety (WHS), environmental and sustainability requirements associated with selecting and receiving materials and installing heritage roofing systems. |
|  |  | 1.3 | Check whether the materials used are compatible with the surrounding environment and other materials within the installation. |
|  |  | 1.4 | Determine heritage material types and calculate quantities from plans and specifications. |
| 2 | Receive delivery of materials. | 2.1 | Provide safe access for delivery vehicles and onsite workers. |
|  |  | 2.2 | Check conformity of materials against the delivery docket and specifications and report any shortfalls or damage. |
|  |  | 2.3 | Secure materials and protect from moisture and mechanical damage. |
| 3 | Prepare for work. | 3.1 | Identify and check serviceability of plant, equipment and tools required for installation and maintenance activities. |
|  |  | 3.2 | Select, fit and use appropriate personal protective equipment (PPE). |
| 4 | Install heritage roof sheeting. | 4.1 | Measure, cut and fix relevant substrate or roof battens for heritage roofing installation at correct spacings to match plans and job requirements. |
|  |  | 4.2 | Measure, cut, weather and install heritage roof sheets using appropriate fastening spacing and methods. |
|  |  | 4.3 | Remove any swarf at end of installation. |
| 5 | Fabricate and install flashings. | 5.1 | Fabricate the required heritage roof flashings. |
|  |  | 5.2 | Measure, cut, fasten and seal the flashing onto a heritage roof structure matching plans and job specifications. |
| 6 | Clean up. | 6.1 | Remove any swarf off cladding, flashings and gutters. |
|  |  | 6.2 | Clear any rivet stems and fasteners. |
|  |  | 6.3 | Clear the work area and dispose of, reuse or recycle materials in accordance with state or territory legislation and workplace requirements. |
|  |  | 6.4 | Clean tools and equipment, check for serviceability and report any damage, and store and secure. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

No equivalent unit.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad