# CPCPSN3011 Plan the layout of a residential sanitary plumbing system and fabricate and install sanitary stacks

Release: 3

CPCPSN3011 Plan the layout of a residential sanitary plumbing system and fabricate and install sanitary stacks

# Modification History

| Release 3 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.2. Removed duplicative point from Knowledge Evidence: WHS requirements for fabricating and installing sanitary stacks. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Change to Pre-requisite unit. Correction to Knowledge Evidence. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is not equivalent to CPCPSN3023A Fabricate and install sanitary stacks, and CPCPSN3011B Plan layout of a residential sanitary plumbing system. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to plan the layout of a residential sanitary plumbing system for a three-storey residence.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements

# Unit Sector

Plumbing and Fire Services

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Plan and identify installation requirements. | 1.1 | Access, read and determine sanitary plumbing system installation requirements from plans, job specifications, codes, relevant Australian Standards, manufacturers’ instructions and jurisdictional requirements. |
|  |  | 1.2 | Identify and apply workplace, work health and safety (WHS) and environmental requirements. |
|  |  | 1.3 | Plan and record layout of sanitary plumbing system. |
| 2 | Prepare for work. | 2.1 | Create a materials list and collect materials. |
|  |  | 2.2 | Select appropriate tools and equipment including personal protective equipment (PPE). |
| 3 | Install and test sanitary stack. | 3.1 | Set out sanitary stack. |
|  |  | 3.2 | Locate and install fixings and supports. |
|  |  | 3.3 | Fabricate, join and install stacks. |
|  |  | 3.4 | Test sanitary stack installation. |
| 4 | Clean up. | 4.1 | Clear the work area and dispose of, reuse or recycle materials in accordance with state or territory legislation and workplace requirements. |
|  |  | 4.2 | Clean tools and equipment, check for serviceability and report any damage, and store and secure. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is not equivalent to CPCPSN3023A Fabricate and install sanitary stacks, and CPCPSN3011B Plan layout of a residential sanitary plumbing system.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCPSN3011 Plan the layout of a residential sanitary plumbing system and fabricate and install sanitary stacks

# Modification History

| Release 3 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.2. Removed duplicative point from Knowledge Evidence: WHS requirements for fabricating and installing sanitary stacks. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Change to Pre-requisite unit. Correction to Knowledge Evidence. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is not equivalent to CPCPSN3023A Fabricate and install sanitary stacks, and CPCPSN3011B Plan layout of a residential sanitary plumbing system. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

planning the layout for residential sanitary plumbing systems, from given plans and specifications for a three-storey residence, including the following fixtures on each floor:

a bath

a shower

a water closet

a basin

a floor waste gully

a kitchen sink

a laundry tub

fabricating and installing, from a given set of plans and job specifications, three different installations of sanitary plumbing systems across a minimum of two building levels including the following fixtures on each level:

a bath

a shower

a water closet

a basin

a floor waste gully

a kitchen sink

a laundry tub

fabricating and installing each planned sanitary system including:

using two different materials

connecting the discharge piping at each floor

preparing stack connection to below ground drain

testing the sanitary system.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

terminology relating to sanitary plumbing systems

installation requirements of sanitary plumbing fixtures

properties of soil and waste discharges, including temperature and corrosive discharges

approved materials and components, their characteristics and application relating to sanitary plumbing systems

how to access relevant information, including codes and standards

materials and equipment used for planning the installation of residential sanitary plumbing systems

work health and safety (WHS)requirements for planning the installation of residential sanitary plumbing systems

principles of sanitary plumbing systems:

elevated pipework

fully vented modified

reduced velocity aerated stack systems

single stack

single stack modified

tools, materials and equipment used to fabricate and install sanitary stacks.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad