# CPCPSN3011 Plan the layout of a residential sanitary plumbing system and fabricate and install sanitary stacks

Release: 3

CPCPSN3011 Plan the layout of a residential sanitary plumbing system and fabricate and install sanitary stacks

# Modification History

| Release 3 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.2. Removed duplicative point from Knowledge Evidence: WHS requirements for fabricating and installing sanitary stacks. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Change to Pre-requisite unit. Correction to Knowledge Evidence. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is not equivalent to CPCPSN3023A Fabricate and install sanitary stacks, and CPCPSN3011B Plan layout of a residential sanitary plumbing system. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to plan the layout of a residential sanitary plumbing system for a three-storey residence.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements

# Unit Sector

Plumbing and Fire Services

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Plan and identify installation requirements. | 1.1 | Access, read and determine sanitary plumbing system installation requirements from plans, job specifications, codes, relevant Australian Standards, manufacturers’ instructions and jurisdictional requirements. |
|  |  | 1.2 | Identify and apply workplace, work health and safety (WHS) and environmental requirements. |
|  |  | 1.3 | Plan and record layout of sanitary plumbing system. |
| 2 | Prepare for work. | 2.1 | Create a materials list and collect materials. |
|  |  | 2.2 | Select appropriate tools and equipment including personal protective equipment (PPE). |
| 3 | Install and test sanitary stack. | 3.1 | Set out sanitary stack. |
|  |  | 3.2 | Locate and install fixings and supports. |
|  |  | 3.3 | Fabricate, join and install stacks. |
|  |  | 3.4 | Test sanitary stack installation. |
| 4 | Clean up. | 4.1 | Clear the work area and dispose of, reuse or recycle materials in accordance with state or territory legislation and workplace requirements. |
|  |  | 4.2 | Clean tools and equipment, check for serviceability and report any damage, and store and secure. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is not equivalent to CPCPSN3023A Fabricate and install sanitary stacks, and CPCPSN3011B Plan layout of a residential sanitary plumbing system.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad