# Assessment Requirements for CPCPSN3022 Install discharge pipes

Release: 1

Assessment Requirements for CPCPSN3022 Install discharge pipes

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPSN3022A Install discharge pipes. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by:

installing discharge pipes, from given plans and specifications, to the following:

a bath

a shower

a water closet

a basin

a floor waste gully

a kitchen sink

a laundry tub

installing discharge pipes from given layouts, including:

two approved materials and approved joining methods

connecting fixture discharge pipes to an approved point of connection.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

terminology relating to discharge pipes

properties of soil and waste discharges, including temperature and corrosive discharges

approved materials and components, their characteristics and application relating to discharge pipes

how to access relevant information

tools, materials and equipment used for the installation of discharge pipes

work health and safety (WHS) requirements for installing discharge pipes.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad