# Assessment Requirements for CPCPSN3026 Install sewerage pumpsets

Release: 2

Assessment Requirements for CPCPSN3026 Install sewerage pumpsets

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Typographical error corrected in Element 1.1. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPSN3026A Install sewerage pumpsets. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by:

installing a small-bore macerator including rising main to an approved point of discharge

using a submersible sewerage pump and correctly installing pump on an approved base

ensuring correct operation of pump, float valves and alarm functions.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

methods of fixing techniques

levelling and alignment processes

performance measures for various sewerage pumpsets:

small bore macerators

submersible pumps

properties of sewerage

tools and equipment used to install sewerage pumpsets including lifting and load-shifting equipment

how to access relevant information, including codes and standards

work health and safety (WHS) requirements for installing sewerage pumpsets.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad