# CPCPSN3026 Install sewerage pumpsets

Release: 2

CPCPSN3026 Install sewerage pumpsets

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Typographical error corrected in Element 1.1. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPSN3026A Install sewerage pumpsets. Updated to meet the Standards for Training Packages 2012. |

# Application

The unit specifies the skills and knowledge required to install sewerage pumps including installing and testing small bore macerators.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements

# Unit Sector

Plumbing and Fire Services

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Identify requirements. | 1.1 | Access, read and determine sewerage pumpset installation requirements from job specifications, relevant Australian Standards, codes, manufacturers’ instructions and jurisdictional requirements. |
|  |  | 1.2 | Identify and follow workplace, work health and safety (WHS) and environmental requirements. |
| 2 | Prepare for work. | 2.1 | Create a materials list and collect materials. |
|  |  | 2.2 | Select appropriate tools and equipment including personal protective equipment (PPE). |
| 3 | Install sewerage pump equipment. | 3.1 | Set out pump according to plans, specifications, site requirements or job instructions, with consideration given to the location of existing services. |
|  |  | 3.2 | Install pumping equipment in specified locations using required fixings. |
|  |  | 3.3 | Connect pipework and pump controls according to plans, manufacturers’ instructions and Australian Standards. |
|  |  | 3.4 | Operate and test installed sewerage pump equipment and related pipework according to relevant Australian Standards and manufacturers’ instructions. |
|  |  | 3.5 | Complete documentation according to workplace requirements. |
| 4 | Clean up. | 4.1 | Clear the work area and dispose of, reuse or recycle materials in accordance with state or territory legislation and workplace requirements. |
|  |  | 4.2 | Clean tools and equipment, check for serviceability and report any damage, and store and secure. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPSN3026A Install sewerage pumpsets

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCPSN3026 Install sewerage pumpsets

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Typographical error corrected in Element 1.1. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPSN3026A Install sewerage pumpsets. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by:

installing a small-bore macerator including rising main to an approved point of discharge

using a submersible sewerage pump and correctly installing pump on an approved base

ensuring correct operation of pump, float valves and alarm functions.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

methods of fixing techniques

levelling and alignment processes

performance measures for various sewerage pumpsets:

small bore macerators

submersible pumps

properties of sewerage

tools and equipment used to install sewerage pumpsets including lifting and load-shifting equipment

how to access relevant information, including codes and standards

work health and safety (WHS) requirements for installing sewerage pumpsets.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad