# Assessment Requirements for CPCPWT3020 Connect and install storage tanks to a domestic water supply

Release: 1

Assessment Requirements for CPCPWT3020 Connect and install storage tanks to a domestic water supply

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release5.0. Supersedes and is equivalent to CPCPWT3020A Connect and install storage tanks to a domestic water supply. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

connecting and commissioning an approved static water storage tank to a water distribution pipe system

meeting the specified location and installation requirements including:

correct air gap

operational water level

overflow requirements

minimum outlet size

tank placement

safe tray and safe waste.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

uses and limitations of materials involved in connecting and installing water storage tanks

process for connecting static water storage tanks

statutory and regulatory authority requirements:

correct air gap

operational water level

overflow requirements

minimum outlet size

tank placement

safe tray and safe waste

testing and commissioning

how to access relevant information, including codes and standards

tools, materials and equipment used to connect and install storage tanks to a domestic water supply

work health and safety (WHS) requirements for connecting and installing storage tanks to a domestic water supply.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad