# CPCPWT3020 Connect and install storage tanks to a domestic water supply

Release: 1

CPCPWT3020 Connect and install storage tanks to a domestic water supply

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release5.0. Supersedes and is equivalent to CPCPWT3020A Connect and install storage tanks to a domestic water supply. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to connect and install storage tanks to a domestic water supply.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements

CPCPCM3023 Fabricate and install non-ferrous pressure piping

# Unit Sector

Plumbing and Fire Services

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Identify installation requirements. | 1.1 | Access, read and determine storage tank installation requirements from job specifications, relevant Australian Standards, codes, manufacturers’ instructions and jurisdictional requirements. |
|  |  | 1.2 | Identify and apply workplace, work health and safety (WHS) and environmental requirements. |
| 2 | Prepare for work. | 2.1 | Create a materials list and collect materials. |
|  |  | 2.2 | Select and check serviceability of appropriate tools and equipment including personal protective equipment (PPE). |
| 3 | Install and test storage tank. | 3.1 | Install storage tank and associated pipework according to job instructions or plans, manufacturers’ instructions, relevant Australian Standards and jurisdictional requirements. |
|  |  | 3.2 | Pressure test and commission installed storage tank according to relevant manufacturers’ instructions, Australian Standards, job specifications and jurisdictional requirements. |
| 4 | Clean up. | 4.1 | Clear the work area and dispose of, reuse or recycle materials in accordance with state or territory legislation and workplace requirements. |
|  |  | 4.2 | Clean tools and equipment, check for serviceability and report any damage, and store and secure. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPWT3020A Connect and install storage tanks to a domestic water supply.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad