# Assessment Requirements for CPCPWT3024 Install and maintain domestic water treatment equipment

Release: 1

Assessment Requirements for CPCPWT3024 Install and maintain domestic water treatment equipment

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPWT3024A Install and maintain domestic water treatment equipment. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by installing, commissioning and maintaining one of the following:

a cartridge water filter

a water cooler

a water softener

a water conditioner

a reverse osmosis filter

a sand filter.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

characteristics, applications and installation requirements:

cartridge filters

water softeners

water coolers

water conditioners

reverse osmosis filters

sand filters

osmosis and reverse osmosis, filtration and purification

properties of hard and soft water

sources of contamination and impurities

pressure and flow rates

how to access relevant information, including codes and standards

tools, materials and equipment used to install and maintain domestic water treatment equipment

work health and safety (PPE) requirements for installing and maintaining domestic water treatment equipment.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad