# Assessment Requirements for CPCPWT3026 Install and fit off sanitary fixtures, water services and adjust water service controls

Release: 1

Assessment Requirements for CPCPWT3026 Install and fit off sanitary fixtures, water services and adjust water service controls

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is not equivalent to CPCPSN3024A Install and fit off sanitary fixtures, and CPCPWT3026A Fit off and commission heated and cold water services. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

setting out, installing and fitting off sanitary fixtures and tapware from an approved point of connection to a:

water closet (WC)

shower

sink

bath

basin

dishwashing machine

wall hung urinal

non-drinking water hose tap

installing and adjusting a programmed flushing device for a cold-water service

adjusting and commissioning two different WC cisterns

reseating a brass tap and installing an approved jumper valve

removing and replacing a mixer tap cartridge with a replacement cartridge.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

properties of water, including pressure and flow rates

approved materials, components, their characteristics and their application for installing sanitary fixtures, cold water systems and water service controls and devices

water service controls and mixing devices

working drawing conventions, symbols and abbreviations

how to access relevant information, including codes and standards

tools, materials and equipment used to fit off and commission heated, tempered and cold-water services to sanitary fixtures

work health and safety (WHS) requirements for fitting off and commissioning heated, tempered and cold-water services to sanitary fixtures.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad