# Assessment Requirements for CPCPWT3028 Install property service

Release: 1

Assessment Requirements for CPCPWT3028 Install property service

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPWT3028A Install water service. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by installing a property service, involving:

determining installation requirements

tapping into a minimum DN100 mm water main

connecting a property service to a water meter assembly

testing and commissioning the installation.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

water meter installation

drilling and tapping water main

approved property service materials

property service installation requirements

types of water main materials

corrosion control

how to access relevant information legislation, including codes and standards

tools, materials and equipment used to install a property service

work health and safety (WHS) requirements for installing a property service.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad