# CPCPWT3030 Install home fire sprinkler systems

Release: 2

CPCPWT3030 Install home fire sprinkler systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Typographical error corrected in Element 1.1. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPWT3030A Install home fire sprinkler systems. Updated to meet the Standards for Training Packages 2012. |

# Application

This unit specifies the skills and knowledge required to install a home fire sprinkler system in a Class 1a building as defined in the National Construction Code (NCC).

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCPCM2043 Carry out WHS requirements

CPCPCM3023 Fabricate and install non-ferrous pressure piping

# Unit Sector

Plumbing and Fire Services

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Identify installation requirements. | 1.1 | Access, read and determine requirements for installing home fire sprinkler systems in a Class 1a building from job specifications, relevant Australian Standards, codes, manufacturers’ specifications and jurisdictional requirements. |
|  |  | 1.2 | Identify and apply workplace, work health and safety (WHS) and environmental requirements. |
| 2 | Prepare for work. | 2.1 | Create a materials list and collect materials. |
|  |  | 2.2 | Select appropriate tools and equipment including personal protective equipment (PPE). |
| 3 | Install, test and commission system. | 3.1 | Set out and install a home sprinkler system in a single-story Class 1a building, according to job specifications and in compliance with relevant Australian Standards, codes, manufacturers’ instructions and jurisdictional requirements. |
|  |  | 3.2 | Test and commission home sprinkler system in a single-story Class 1a building, according to job specifications, relevant Australian Standards, codes, manufacturers’ instructions and jurisdictional requirements. |
| 4 | Clean up. | 4.1 | Clear the work area and dispose of, reuse or recycle materials in accordance with state or territory legislation and workplace requirements. |
|  |  | 4.2 | Clean tools and equipment, check for serviceability and report any damage, and store and secure. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCPWT3030A Install home fire sprinkler systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad