# Assessment Requirements for CPCPWT4011 Design and size heated and cold-water services and systems

Release: 1

Assessment Requirements for CPCPWT4011 Design and size heated and cold-water services and systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCPWT4011B Design and size heated and cold-water services and systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

designing, sizing and documenting the layout and schematic details for a commercial building with the design incorporating:

an approved heated/tempered circulating system and cold-water system to a minimum of seven floor levels. Each floor level must include a hydrant and hose reel system

at least five levels with the following fixtures on each floor level:

a disabled bathroom incorporating a water closet (WC) and basin

male toilet facilities including three WCs, three basins and three individual urinals or an equivalent sized urinal slab incorporating a mains pressure flush valve system

female toilet facilities including five WCs and three basins

a shower

a kitchen sink for tea making purposes

one floor level containing a commercial kitchen with food preparation area including at least:

a commercial dishwasher

a commercial pot wash facility

a commercial glasswasher

a basin

one floor level containing a plant room

designing, sizing and documenting the layout and schematic details for a residential building with the design incorporating:

an approved heated/tempered water system and a drinking and non-drinking cold water system to a minimum of seven floor levels, inclusive of basement, to include fixtures on each floor level (excluding the basement).

at least the following fixtures on each floor level:

three baths

six showers

six WCs

six basins

three kitchen sinks

three dishwashers

three laundry tubs

three clothes washing machines.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

process of designing, sizing and documenting the layout of heated, tempered and cold-water services and systems

properties of water, including pressure and flow rates

heated, tempered and cold-water services and flushing systems, and fire hydrant and hose reel systems, including non-drinking water requirements

mains pressure flushing devices

selection requirements for installing:

thermostatic mixing valves

backflow prevention devices

drawing instruments and sketching techniques, including the use of conventional symbols

use of computers for documentation

computer-aided design software

how to access relevant information, including codes and standards

tools, materials and equipment used to design and size heated and cold-water services and systems

work health and safety (WHS) requirements for designing and sizing heated and cold-water services and systems.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad