# Assessment Requirements for CPCSFS5001 Define scope and hazard level of fire systems design projects

Release: 1

Assessment Requirements for CPCSFS5001 Define scope and hazard level of fire systems design projects

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5001A Define scope and hazard level of fire systems design projects. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

interpreting design concepts, briefs and specifications

establishing hazard levels and building classifications

identifying relevant localised legislation, codes and standards for each of the following project types:

low-rise building

medium-rise building

high-rise building (over 25 metres)

building over 50 metres in height

building classifications in the National Construction Code (NCC)

selecting and applying one of the following locations to the each of the above project types ensuring all locations have been used at least once:

local

involving more than one state or territory

international.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

fire engineering principles:

innovative fire systems

relevant computer-aided design (CAD) programs such as:

archi CAD

Revit

relevant current legislation, codes and standards:

building acts

building regulations

infrastructure supply regulations

the Building Code of Australia (BCA)

NCC

jurisdictional authorities in addition to the BCA and NCC

Australian standards for fire systems

international standards for fire systems

other fire systems standards commonly required by building insurers

fire systems technology and components:

water-based systems

wet pipe sprinkler systems

deluge and drencher systems

dry pipe sprinkler systems

pre-action sprinkler systems

early suppression fast response (ESFR)

hydrants, hose reels and monitors

water supply tanks

fire pump sets

high-pressure water mist systems

gas suppression

detection and warning systems:

emergency warning and intercommunications systems (EWIS)

fire detection and alarm systems

smoke control systems

purpose and operation of fire systems:

layout

system operation

performance requirements

maintenance standards

system activation and operation

passive fire safety elements:

identification of passive elements

impact of fire systems design on passive elements

specifications required to safeguard integrity of passive fire element performance where penetrations are necessitated by the fire systems design

characteristics and limitations of products and materials used in fire systems and issues relating to material compatibility

interconnection of fire systems:

cause and effect matrix

interface with other services

construction industry terminology

different types of buildings for fire systems design projects:

residential

commercial

industrial

mixed classification

building classifications:

classifications in the BCA such as:

occupancy classes

multiple classifications

parts with more than one classification

classifications specified in relevant Australian or international standards

classifications relating to standards or codes applied by building insurers

how to access relevant information, including codes and standards

relevant work health and safety (WHS) requirements to define scope and hazard level of fire systems design projects.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad