# CPCSFS5001 Define scope and hazard level of fire systems design projects

Release: 1

CPCSFS5001 Define scope and hazard level of fire systems design projects

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5001A Define scope and hazard level of fire systems design projects. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to interpret briefs and specifications for fire systems design projects to define the scope and hazard level of projects.

This unit of competency supports the role of fire system designers and design consultants who need to determine the nature and purpose of a fire systems design concept.

The role may involve interaction with architects, builders, suppliers, clients and relevant planning authorities and requires a sound understanding of applicable legislation, standards and codes, including the National Construction Code (NCC).

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing and Fire Services

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Interpret fire systems design concept, brief or specification. | 1.1 | Gather and interpret design concepts and brief, specifications and recommendations for fire systems design project. |
|  |  | 1.2 | Determine and outline the nature, purpose and location of proposed fire systems. |
| 2 | Establish building classifications and hazard levels for fire systems design project. | 2.1 | Determine size and type of buildings from initial project documentation. |
|  |  | 2.2 | Determine function and occupancy of buildings from initial project documentation. |
|  |  | 2.3 | Obtain clarification of specific building details from client or other relevant persons within project timelines. |
|  |  | 2.4 | Research and confirm building classifications and hazard levels according to relevant codes and standards. |
| 3 | Determine and verify the applicable legislation, codes and standards. | 3.1 | Determine and verify regulatory requirements applicable to the fire systems design project. |
|  |  | 3.2 | Determine and confirm the codes and standards applicable to the location and classification of buildings included in fire systems design project. |
|  |  | 3.3 | Determine and verify insurance requirements impacting on applicable codes and standards for fire systems project. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCSFS5001A Define scope and hazard level of fire systems design projects.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCSFS5001 Define scope and hazard level of fire systems design projects

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5001A Define scope and hazard level of fire systems design projects. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

interpreting design concepts, briefs and specifications

establishing hazard levels and building classifications

identifying relevant localised legislation, codes and standards for each of the following project types:

low-rise building

medium-rise building

high-rise building (over 25 metres)

building over 50 metres in height

building classifications in the National Construction Code (NCC)

selecting and applying one of the following locations to the each of the above project types ensuring all locations have been used at least once:

local

involving more than one state or territory

international.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

fire engineering principles:

innovative fire systems

relevant computer-aided design (CAD) programs such as:

archi CAD

Revit

relevant current legislation, codes and standards:

building acts

building regulations

infrastructure supply regulations

the Building Code of Australia (BCA)

NCC

jurisdictional authorities in addition to the BCA and NCC

Australian standards for fire systems

international standards for fire systems

other fire systems standards commonly required by building insurers

fire systems technology and components:

water-based systems

wet pipe sprinkler systems

deluge and drencher systems

dry pipe sprinkler systems

pre-action sprinkler systems

early suppression fast response (ESFR)

hydrants, hose reels and monitors

water supply tanks

fire pump sets

high-pressure water mist systems

gas suppression

detection and warning systems:

emergency warning and intercommunications systems (EWIS)

fire detection and alarm systems

smoke control systems

purpose and operation of fire systems:

layout

system operation

performance requirements

maintenance standards

system activation and operation

passive fire safety elements:

identification of passive elements

impact of fire systems design on passive elements

specifications required to safeguard integrity of passive fire element performance where penetrations are necessitated by the fire systems design

characteristics and limitations of products and materials used in fire systems and issues relating to material compatibility

interconnection of fire systems:

cause and effect matrix

interface with other services

construction industry terminology

different types of buildings for fire systems design projects:

residential

commercial

industrial

mixed classification

building classifications:

classifications in the BCA such as:

occupancy classes

multiple classifications

parts with more than one classification

classifications specified in relevant Australian or international standards

classifications relating to standards or codes applied by building insurers

how to access relevant information, including codes and standards

relevant work health and safety (WHS) requirements to define scope and hazard level of fire systems design projects.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad