# Assessment Requirements for CPCSFS5002 Research and interpret detailed fire systems design project requirements

Release: 1

Assessment Requirements for CPCSFS5002 Research and interpret detailed fire systems design project requirements

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5002A Research and interpret detailed fire systems design project requirements. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by:

establishing the detailed design requirements of fire systems design projects, including discretionary client requirements for four different types of buildings, including:

commercial building

factory

residential nursing home

high-rise building.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace design tools and processes

drawings, plans and schedules for the building project:

architectural

structural

mechanical

hydraulic

electrical

layout

section

detail

project schedule or construction program

design brief

design specifications

level of accuracy required in detailed design drawings

compliance requirements for fire systems design projects in different locations

aesthetic requirements relating to the location of fire system components

relevant current legislation, codes and standards:

building Acts

building regulations

infrastructure supply regulations

the Building Code of Australia (BCA)

the Plumbing Code of Australia

Australian standards for fire systems

National Construction Code (NCC)

jurisdictional authorities in addition to the BCA and NCC

international standards for fire systems

regulatory requirements, systems and processes:

mandatory requirements

design approval

fire brigade requirements

certification of installation

infrastructure supply regulations

protection requirements for different buildings

fire systems’ technology and components:

water-based systems:

wet pipe sprinkler systems

deluge and drencher systems

dry pipe sprinkler systems

pre-action sprinkler systems

early suppression fast response (ESFR)

hydrants, hose reels and monitors

water supply tanks

fire pump sets

high pressure water mist systems

gas suppression systems

detection and warning systems:

occupant warning systems

emergency warning and intercommunications systems (EWIS)

fire detection and alarm systems

smoke control systems

purpose and operation of fire systems:

layout

system operation

performance requirements

maintenance standards

system activation and operation

passive fire safety elements:

identification of passive elements

impact of fire systems design on passive elements

specifications required to safeguard integrity of passive fire element performance where penetrations are necessitated by the fire systems design

characteristics and limitations of products and materials used in fire systems and issues relating to material compatibility

interconnection of fire systems:

cause and effect matrix

interface with other services

construction industry terminology

roles and responsibilities of relevant building project personnel:

builders

consultants

trades

commissioning personnel

on-site issues that can arise during the construction phase and impose changes to the designs of fire systems and other services

installation methods:

access requirements

work health and safety (WHS) requirements

fluid mechanics and hydraulics relating to

water supply

pressure

pump selection

tank selection

pressure vessels

pipe range

sustainability requirements and ratings:

energy conservation

water conservation

types of fire systems for projects and classifications, including:

low-rise buildings

processing building applications

warehouse buildings under 13.7 m high

warehouse buildings over 13.7 m high

medium-rise buildings

high-rise buildings (over 25 metres)

buildings over 50 metres in height

types of buildings and situations:

different types of buildings:

residential

commercial

industrial

warehouse

mixed classification

buildings in different locations:

local

involving more than one state or territory

classifications of buildings in the BCA:

occupancy classes

multiple classifications

parts with more than one classification

fire hazard properties of materials and smoke growth rate

classifications of buildings specified in relevant Australian or international standards

classifications of buildings relating to standards or codes applied by building insurers.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad