# CPCSFS5002 Research and interpret detailed fire systems design project requirements

Release: 1

CPCSFS5002 Research and interpret detailed fire systems design project requirements

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5002A Research and interpret detailed fire systems design project requirements. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit of competency specifies the outcomes required to obtain and process design drawings and documentation required for the preparation of detailed fire systems designs and to make an initial assessment of how the fire systems are affected by other aspects of the project. The unit also covers researching detailed fire systems compliance requirements and regulatory processes and negotiating solutions to conflicts arising between the design brief and compliance or installation requirements.

This unit of competency supports the role of fire systems designers who need to gather and process fire systems design project drawings and documentation and establish the detailed design and compliance requirements for fire systems. The role also involves assessing the impact of building construction and services installation on the detailed fire systems design and negotiating solutions to any conflicts arising.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing and Fire Services

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Gather and interpret project initiation documentation. | 1.1 | Gather and check fire systems design briefs, plans and specifications for currency and completeness. |
|  |  | 1.2 | Interpret the specific requirements of engineered or innovative solutions, designed and specified by fire engineers. |
|  |  | 1.3 | Request, obtain and file relevant drawings, plans and schedules for the building project according to workplace and project procedures. |
|  |  | 1.4 | Assess impacts of building construction and the installation of other services on fire systems design to pre-empt possible issues. |
| 2 | Research the detailed requirements of relevant legislation and regulatory processes. | 2.1 | Investigate legislation impacting on design compliance in different project locations and interpret and note variations in requirements. |
|  |  | 2.2 | Interpret regulatory requirements impacting on fire systems designs and project processes and specific requirements in different states, territories and jurisdictional locations. |
|  |  | 2.3 | Identify different climatic or locational conditions and their impact on the operational performance of the designed fire systems. |
| 3 | Research the detailed requirements of applicable codes and standards. | 3.1 | Gather and check applicable codes and standards for currency. |
|  |  | 3.2 | Research and interpret requirements relating to specific fire systems in different types of buildings and situations. |
|  |  | 3.3 | Determine and apply the appropriate code requirements for the building and situation. |
| 4 | Consult and negotiate to clarify and finalise project details. | 4.1 | Confirm the interpretation of the required fire systems design and intended layout and interconnection with relevant personnel. |
|  |  | 4.2 | Undertake consultation and negotiations with relevant personnel to resolve conflicts between the design brief, regulatory or insurance requirements, the requirements of building construction, and the installation of the fire systems and other services. |
|  |  | 4.3 | Clarify aesthetic requirements relating to the location of fire system components and installation methods and negotiate solutions. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCSFS5002A Research and interpret detailed fire systems design project requirements.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCSFS5002 Research and interpret detailed fire systems design project requirements

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5002A Research and interpret detailed fire systems design project requirements. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by:

establishing the detailed design requirements of fire systems design projects, including discretionary client requirements for four different types of buildings, including:

commercial building

factory

residential nursing home

high-rise building.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace design tools and processes

drawings, plans and schedules for the building project:

architectural

structural

mechanical

hydraulic

electrical

layout

section

detail

project schedule or construction program

design brief

design specifications

level of accuracy required in detailed design drawings

compliance requirements for fire systems design projects in different locations

aesthetic requirements relating to the location of fire system components

relevant current legislation, codes and standards:

building Acts

building regulations

infrastructure supply regulations

the Building Code of Australia (BCA)

the Plumbing Code of Australia

Australian standards for fire systems

National Construction Code (NCC)

jurisdictional authorities in addition to the BCA and NCC

international standards for fire systems

regulatory requirements, systems and processes:

mandatory requirements

design approval

fire brigade requirements

certification of installation

infrastructure supply regulations

protection requirements for different buildings

fire systems’ technology and components:

water-based systems:

wet pipe sprinkler systems

deluge and drencher systems

dry pipe sprinkler systems

pre-action sprinkler systems

early suppression fast response (ESFR)

hydrants, hose reels and monitors

water supply tanks

fire pump sets

high pressure water mist systems

gas suppression systems

detection and warning systems:

occupant warning systems

emergency warning and intercommunications systems (EWIS)

fire detection and alarm systems

smoke control systems

purpose and operation of fire systems:

layout

system operation

performance requirements

maintenance standards

system activation and operation

passive fire safety elements:

identification of passive elements

impact of fire systems design on passive elements

specifications required to safeguard integrity of passive fire element performance where penetrations are necessitated by the fire systems design

characteristics and limitations of products and materials used in fire systems and issues relating to material compatibility

interconnection of fire systems:

cause and effect matrix

interface with other services

construction industry terminology

roles and responsibilities of relevant building project personnel:

builders

consultants

trades

commissioning personnel

on-site issues that can arise during the construction phase and impose changes to the designs of fire systems and other services

installation methods:

access requirements

work health and safety (WHS) requirements

fluid mechanics and hydraulics relating to

water supply

pressure

pump selection

tank selection

pressure vessels

pipe range

sustainability requirements and ratings:

energy conservation

water conservation

types of fire systems for projects and classifications, including:

low-rise buildings

processing building applications

warehouse buildings under 13.7 m high

warehouse buildings over 13.7 m high

medium-rise buildings

high-rise buildings (over 25 metres)

buildings over 50 metres in height

types of buildings and situations:

different types of buildings:

residential

commercial

industrial

warehouse

mixed classification

buildings in different locations:

local

involving more than one state or territory

classifications of buildings in the BCA:

occupancy classes

multiple classifications

parts with more than one classification

fire hazard properties of materials and smoke growth rate

classifications of buildings specified in relevant Australian or international standards

classifications of buildings relating to standards or codes applied by building insurers.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad