# Assessment Requirements for CPCSFS5003 Develop plans and methodology for fire systems design projects

Release: 1

Assessment Requirements for CPCSFS5003 Develop plans and methodology for fire systems design projects

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5003A Develop plans and methodology for fire systems design projects. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

developing a project plan and methodology for a minimum of four types of fire systems design projects, including:

commercial building

factory

residential nursing home

high-rise building.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace design tools and processes

project documentation:

drawings

architectural

structural

mechanical

hydraulic

electrical

layout

section

detail

final drawings:

‘as installed’ drawings

block plans

tactical fire plans

commissioning benchmarks

operations and maintenance manuals

project schedule or construction program

design brief

design specifications

compliance and quality requirements for fire systems design projects, including:

low-rise buildings

processing building applications

warehouse buildings under 13.7 m high

warehouse buildings over 13.7 m high

medium-rise buildings

high-rise buildings (over 25 metres)

buildings over 50 metres in height

communication and negotiation processes

level of accuracy required in detailed design drawings, plans and reports

fire systems design activities, including installation support and finalisation

naming conventions for design drawings and drawing register

computer software functions and operation:

word processing

spreadsheet

email

internet

fire systems technology and components:

water-based systems:

wet pipe sprinkler systems

deluge and drencher systems

dry pipe sprinkler systems

pre-action sprinkler systems

early suppression fast response (ESFR)

water spray systems

water mist systems

wet chemical suppression systems

foam suppression systems

hydrants, hose reels and monitors

water supply tanks

fire pump sets

detection and warning systems:

occupant warning systems

emergency warning and intercommunications systems (EWIS)

fire detection and alarm systems

smoke control systems

emergency lighting systems

purpose and operation of fire systems:

special products and hazards

system operation

performance requirements

maintenance standards

system activation and operation

passive fire safety elements

identification of passive element:

impact of fire systems design on passive elements

construction industry terminology

roles and responsibilities of relevant building project team and personnel, including:

architect

lead contractor

mechanical engineer or contractor

hydraulic engineer or contractor

electrical engineer or contractor

client

consulting engineer

civil engineers

fire engineers

building (private) certifier or surveyor

project management processes, including scheduling, communications and file sharing

on-site issues that can arise during the construction phase and impose changes to the designs of fire systems and other services

regulatory or other approval:

building certifier or surveyor

fire brigade

fire engineer.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad