# CPCSFS5003 Develop plans and methodology for fire systems design projects

Release: 1

CPCSFS5003 Develop plans and methodology for fire systems design projects

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5003A Develop plans and methodology for fire systems design projects. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit of competency specifies the outcomes required to ensure a quality result for the detailed design of fire systems through work organisation, planning and methodology.

This unit of competency supports the role of fire systems designers who manage their own work and take responsibility for ensuring that detailed designs of fire systems are produced within required timeframes and to the standards required for approval of such designs.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing and Fire Services

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Identify and apply procedures for initiating fire systems design projects. | 1.1 | Identify various project file-sharing and communication systems, tools and methods to ensure efficient and effective operation. |
|  |  | 1.2 | Use project and file-naming systems according to workplace and project requirements. |
|  |  | 1.3 | Identify efficient and effective document filing and storage systems according to workplace and project requirements. |
|  |  | 1.4 | Identify systems for efficient tracking and filing of project communications according to workplace and project requirements. |
|  |  | 1.5 | Identify a system for ensuring relevant project documentation is requested, received, named and filed according to workplace procedures. |
| 2 | Develop a plan for setting up fire systems design projects. | 2.1 | Develop plan for setting up correct computer-aided design (CAD) backgrounds according to workplace and project requirements. |
|  |  | 2.2 | Develop systematic processes for identifying and importing the correct layer drawings into CAD according to workplace and project requirements. |
| 3 | Develop a plan and methodology for designing fire systems. | 3.1 | Develop actions and timeframes in the design process for fire systems according to workplace, project requirements, quality assurance and other regulatory approval, as required. |
|  |  | 3.2 | Determine stages where regulatory or other approval is required for the design and establish procedures to ensure that these are obtained. |
|  |  | 3.3 | Identify applicable fire codes, standards and data sheets from relevant authorities and underwriters. |
| 4 | Develop a plan and methodology for finalising fire systems design projects. | 4.1 | Establish actions and timeframes in the fabrication and installation support process according to workplace and project requirements. |
|  |  | 4.2 | Establish final drawing and documentation requirements according to workplace and project requirements. |
|  |  | 4.3 | Establish timelines for long lead items such as fire tanks, fire pumps and specialist overseas equipment. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCSFS5003A Develop plans and methodology for fire systems design projects.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCSFS5003 Develop plans and methodology for fire systems design projects

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5003A Develop plans and methodology for fire systems design projects. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

developing a project plan and methodology for a minimum of four types of fire systems design projects, including:

commercial building

factory

residential nursing home

high-rise building.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace design tools and processes

project documentation:

drawings

architectural

structural

mechanical

hydraulic

electrical

layout

section

detail

final drawings:

‘as installed’ drawings

block plans

tactical fire plans

commissioning benchmarks

operations and maintenance manuals

project schedule or construction program

design brief

design specifications

compliance and quality requirements for fire systems design projects, including:

low-rise buildings

processing building applications

warehouse buildings under 13.7 m high

warehouse buildings over 13.7 m high

medium-rise buildings

high-rise buildings (over 25 metres)

buildings over 50 metres in height

communication and negotiation processes

level of accuracy required in detailed design drawings, plans and reports

fire systems design activities, including installation support and finalisation

naming conventions for design drawings and drawing register

computer software functions and operation:

word processing

spreadsheet

email

internet

fire systems technology and components:

water-based systems:

wet pipe sprinkler systems

deluge and drencher systems

dry pipe sprinkler systems

pre-action sprinkler systems

early suppression fast response (ESFR)

water spray systems

water mist systems

wet chemical suppression systems

foam suppression systems

hydrants, hose reels and monitors

water supply tanks

fire pump sets

detection and warning systems:

occupant warning systems

emergency warning and intercommunications systems (EWIS)

fire detection and alarm systems

smoke control systems

emergency lighting systems

purpose and operation of fire systems:

special products and hazards

system operation

performance requirements

maintenance standards

system activation and operation

passive fire safety elements

identification of passive element:

impact of fire systems design on passive elements

construction industry terminology

roles and responsibilities of relevant building project team and personnel, including:

architect

lead contractor

mechanical engineer or contractor

hydraulic engineer or contractor

electrical engineer or contractor

client

consulting engineer

civil engineers

fire engineers

building (private) certifier or surveyor

project management processes, including scheduling, communications and file sharing

on-site issues that can arise during the construction phase and impose changes to the designs of fire systems and other services

regulatory or other approval:

building certifier or surveyor

fire brigade

fire engineer.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad