# CPCSFS5005 Research and evaluate fire system technologies and components

Release: 1

CPCSFS5005 Research and evaluate fire system technologies and components

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5005A Research and evaluate fire system technologies and components. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit of competency specifies the outcomes required to research, evaluate and select existing, new and incoming technologies and components for fire system detection and suppression systems. The unit also involves developing a broad understanding of the range of products available and their application, operation, performance and interaction.

This unit of competency supports the work of fire systems’ designers and certifiers who need to:

understand the characteristics, operation and interaction of fire system technologies and components

select and assess fire system technologies and components.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing and Fire Services

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Research and evaluate fire suppression systems. | 1.1 | Research and identify the range of technologies and components for fire suppression systems. |
|  |  | 1.2 | Assess the suitability of fire suppression systems to different types of buildings and situations with reference to relevant legislation, codes and standards and client requirements. |
|  |  | 1.3 | Determine the performance characteristics and limitations of fire suppression systems. |
|  |  | 1.4 | Analyse fire suppression system failures and propose appropriate design solutions. |
|  |  | 1.5 | Select suitable and cost-effective fire suppression system technologies and components for buildings, situations and climatic conditions. |
| 2 | Research and evaluate fire detection and occupant warning systems. | 2.1 | Identify technologies and components available for fire detection and occupant warning systems. |
|  |  | 2.2 | Assess the suitability of fire detection and occupant warning systems to different types of buildings and situations with reference to relevant legislation, codes and standards. |
|  |  | 2.3 | Determine the performance characteristics and limitations of fire detection and occupant warning systems. |
|  |  | 2.4 | Select suitable and cost-effective fire detection and occupant warning system technologies and components for buildings and situations. |
| 3 | Analyse and specify the interaction of fire systems. | 3.1 | Analyse and specify the required interactions for effective operation of fire systems in different types of buildings and situations. |
|  |  | 3.2 | Identify and examine the interfaces that affect interactions between fire systems in different types of buildings and situations. |
|  |  | 3.3 | Select suitable fire detection and suppression systems for buildings and situations and specify the interactions and interfaces required for effective performance. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCSFS5005A Research and evaluate fire system technologies and components.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCSFS5005 Research and evaluate fire system technologies and components

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5005A Research and evaluate fire system technologies and components. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

researching, evaluating and selecting fire detection and suppression systems for four types of fire systems design applications, including:

sprinklers

water mist

deluge/pre-action

gas suppression.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

drawings, plans, reports and specifications

manufacturer specifications and technical performance data for fire detection and suppression technologies and components

applications for different fire systems design projects:

low-rise buildings

processing building applications

warehouse buildings under 13.7 m high

warehouse buildings over 13.7 m high

medium-rise buildings

high-rise buildings (over 25 metres)

buildings over 50 metres in height

interactions and interfaces between fire detection and suppression systems

suitability of fire detection and suppression systems technology and components

performance and cost-effectiveness of different technologies and components

workplace design tools and processes

computer software functions and operation:

word processing

spreadsheet

email

internet

relevant current legislation, codes and standards:

building Acts

building regulations

infrastructure supply regulations

the Building Code of Australia (BCA)

National Construction Code (NCC)

Australian standards for fire systems

international standards for fire systems

jurisdictional authorities in addition to the BCA and NCC

other fire system standards commonly required by building insurers

fire systems technology and components:

water-based systems:

wet pipe sprinkler systems and components

deluge and drencher systems

dry pipe sprinkler systems and components

pre-action sprinkler systems and components

early suppression fast response (ESFR) sprinklers and components

water spray systems

water mist systems

wet chemical suppression systems

foam suppression systems

hydrants, hose reels and monitors

water supply tanks

fire pump sets

fire control panels

valves

gaseous suppression systems

detection and warning systems:

occupant warning systems

emergency warning and intercommunications systems (EWIS)

fire detection and alarm systems

smoke control systems

emergency lighting systems

fire control panels

purpose and operation of fire systems:

layout

high hazard products

system operation

performance requirements

maintenance standards

system activation and operation

characteristics and limitations of products and materials used in fire systems and issues relating to material compatibility:

system activation and operation

effect of fire, heat and smoke of component materials

interaction with other systems and services

interconnection of fire systems:

cause and effect matrix

interface with other services

water supplies:

common water sources

conservation requirements

in-ground reticulation

booster configurations

fluid mechanics and hydraulics relating to:

water supply

pressure

pump selection

tank selection

pressure vessels

pipe range

sustainability requirements and ratings:

energy conservation

water conservation

electrical and electronics theory:

units used to measure current (alternating current (AC) and direct current (DC)), power, capacitance, inductance and sound attenuation

definition of voltage ratings and requirements applicable to fire detection and warning systems as defined in communication and electrical safety regulations, including extra-low voltage (ELV), low voltage (LV) and hazardous voltages

basic operation of common electronic and electrical components used in fire detection and warning systems including:

basic operation of communication protocols on addressable systems

peripheral devices (printers)

interfaces to other communication systems to high level or low level

communication technologies:

data transfer

networking

communication protocols

radio frequency technologies.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad