# Assessment Requirements for CPCSFS5006 Create detailed designs for fire sprinkler systems

Release: 1

Assessment Requirements for CPCSFS5006 Create detailed designs for fire sprinkler systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5006A Create detailed designs for fire sprinkler systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

designing fire sprinkler systems for four different types of buildings, including:

commercial building

factory

residential nursing home

high-rise building.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace design tools and processes:

effective and workable layout and location:

selection of cost-effective components and materials

consideration of:

penetrations

conflict with other services

work health and safety (WHS) risks

access constraints

installation problems

aesthetic requirements

efficiencies to facilitate work on site and reduce labour costing

negotiations regarding amendments:

non-compliance with applicable legislation, codes and standards

impact on installation risks and constraints

impact on cost-effectiveness

level of accuracy required in detailed design drawings

storage and sharing design drawings

naming conventions for design drawings and drawing register

computer software functions and operation:

word processing

spreadsheet

email

internet

proprietary hydraulic calculation software

relevant current legislation, codes and standards:

building Acts

building regulations

infrastructure supply regulations

the Building Code of Australia (BCA)

National Construction Code (NCC)

Australian standards for fire systems

international standards for fire systems

jurisdictional authorities in addition to the BCA and NCC

other fire system standards commonly required by building insurers

fire systems technology and components for water-based systems:

wet pipe sprinkler systems

deluge and drencher systems

dry pipe sprinkler systems

pre-action sprinkler systems

early suppression fast response (ESFR)

discharge nozzles

pipework

pipework supports

system valves

zone valves

sprinkler heads

Pipework fittings

control valves

purpose and operation of fire systems:

layout

system operation

performance requirements

maintenance standards

system activation and operation

characteristics and limitations of products and materials used in fire systems and issues relating to material compatibility

regulatory approval and fire systems design certification processes

compliant designs for fire sprinkler systems for a range of types of sites, including:

low-rise buildings

medium-rise buildings

high-rise buildings (over 25 metres)

buildings over 50 metres in height

construction industry terminology

roles and responsibilities of relevant building project personnel:

architect

lead contractor

mechanical engineer

hydraulic engineer

electrical engineer

installation methods:

access requirements

WHS requirements

sustainability requirements and ratings:

energy conservation

water conservation

pipe fabrication methods and constraints

mathematic principles, equations and calculation methods:

flow calculations:

area of operations

discharge rates and quantities

discharge times

pressure gain and loss

K-factors

pressure, temperature and volume relationship

Hazen-Williams equation

Darcy-Weisbach equation

computational fluid dynamics

project drawings and documentation:

architectural

structural

mechanical

electrical

hydraulic

fire engineer’s or estimator’s specifications.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad