# CPCSFS5006 Create detailed designs for fire sprinkler systems

Release: 1

CPCSFS5006 Create detailed designs for fire sprinkler systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5006A Create detailed designs for fire sprinkler systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit of competency specifies the outcomes required to obtain, process and set up drawings for the detailed design of fire sprinkler systems. The unit also involves assessing and selecting component requirements, setting out the locations of components, and creating final notated drawings.

This unit of competency supports the role of fire systems designers with responsibility for creating detailed designs for sprinkler fire suppression systems.

Licensing, legislative, regulatory or certification requirements may apply to this unit and so the varying state or territory requirements should be confirmed with the relevant body.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing and Fire Services

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Set up fire systems design drawings. | 1.1 | Request, receive, name and file relevant project drawings and documentation according to workplace procedures. |
|  |  | 1.2 | Clean drawings to leave minimal essential information. |
|  |  | 1.3 | Import layers showing designs of other services into clean architectural or structural drawings. |
|  |  | 1.4 | Add details from drawings of the floor of the level above, if these affect the design. |
|  |  | 1.5 | Name, file and back up the detailed design drawings according to workplace procedures. |
| 2 | Calculate preliminary data. | 2.1 | Develop floor area calculations to determine the number of sprinkler zones. |
|  |  | 2.2 | Determine the sprinkler occupancy classifications, minimum sprinkler flow and initial fire flow demands based on classifications for the site. |
|  |  | 2.3 | Determine and analyse the town main water capabilities for the fire services serving the site to identify if fire pumps and fire tanks are required. |
|  |  | 2.4 | Calculate the proposed fire pump flow and pressure and fire tank sizes. |
|  |  | 2.5 | Prepare a comparison list of equipment which can be used across the site. |
| 3 | Lay out the fire sprinkler system design. | 3.1 | Determine and notate the exact location of sprinklers on the drawing according to relevant codes and standards. |
|  |  | 3.2 | Determine and notate the most efficient and workable layout and location of sprinkler system components on the drawing according to regulatory requirements, standards and regulations. |
|  |  | 3.3 | Design pipework layout and coordinate with building elements and services and identify pipework sizes and elevations across the systems. |
|  |  | 3.4 | Calculate, check and notate dimensions on the drawing according to regulatory requirements, standards and regulations. |
|  |  | 3.5 | Undertake hydraulic analysis of the fire systems using both hand calculation procedures and computer modelling programs. |
|  |  | 3.6 | Validate fire pump and tank sizes with initial estimates. |
|  |  | 3.7 | Develop detailed designs of pipework for complicated interaction of pipework and building elements and services. |
|  |  | 3.8 | Develop detailed designs of pipework configurations for fire tanks, fire pumps, brigade booster and suction points and alarm valves, including manifold systems and flow switch arrangements. |
| 4 | Submit drawings for approval and finalise design process. | 4.1 | Submit fire sprinkler system design drawings to relevant personnel within the scheduled timeframe. |
|  |  | 4.2 | Make or negotiate required amendments to design drawings as required. |
|  |  | 4.3 | Process and distribute final approved design drawings according to project and regulatory requirements, standards and regulations. |
|  |  | 4.4 | Select fittings and components according to project and regulatory requirements, standards and regulations. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCSFS5006A Create detailed designs for fire sprinkler systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCSFS5006 Create detailed designs for fire sprinkler systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5006A Create detailed designs for fire sprinkler systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

designing fire sprinkler systems for four different types of buildings, including:

commercial building

factory

residential nursing home

high-rise building.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace design tools and processes:

effective and workable layout and location:

selection of cost-effective components and materials

consideration of:

penetrations

conflict with other services

work health and safety (WHS) risks

access constraints

installation problems

aesthetic requirements

efficiencies to facilitate work on site and reduce labour costing

negotiations regarding amendments:

non-compliance with applicable legislation, codes and standards

impact on installation risks and constraints

impact on cost-effectiveness

level of accuracy required in detailed design drawings

storage and sharing design drawings

naming conventions for design drawings and drawing register

computer software functions and operation:

word processing

spreadsheet

email

internet

proprietary hydraulic calculation software

relevant current legislation, codes and standards:

building Acts

building regulations

infrastructure supply regulations

the Building Code of Australia (BCA)

National Construction Code (NCC)

Australian standards for fire systems

international standards for fire systems

jurisdictional authorities in addition to the BCA and NCC

other fire system standards commonly required by building insurers

fire systems technology and components for water-based systems:

wet pipe sprinkler systems

deluge and drencher systems

dry pipe sprinkler systems

pre-action sprinkler systems

early suppression fast response (ESFR)

discharge nozzles

pipework

pipework supports

system valves

zone valves

sprinkler heads

Pipework fittings

control valves

purpose and operation of fire systems:

layout

system operation

performance requirements

maintenance standards

system activation and operation

characteristics and limitations of products and materials used in fire systems and issues relating to material compatibility

regulatory approval and fire systems design certification processes

compliant designs for fire sprinkler systems for a range of types of sites, including:

low-rise buildings

medium-rise buildings

high-rise buildings (over 25 metres)

buildings over 50 metres in height

construction industry terminology

roles and responsibilities of relevant building project personnel:

architect

lead contractor

mechanical engineer

hydraulic engineer

electrical engineer

installation methods:

access requirements

WHS requirements

sustainability requirements and ratings:

energy conservation

water conservation

pipe fabrication methods and constraints

mathematic principles, equations and calculation methods:

flow calculations:

area of operations

discharge rates and quantities

discharge times

pressure gain and loss

K-factors

pressure, temperature and volume relationship

Hazen-Williams equation

Darcy-Weisbach equation

computational fluid dynamics

project drawings and documentation:

architectural

structural

mechanical

electrical

hydraulic

fire engineer’s or estimator’s specifications.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad