# CPCSFS5007 Create detailed designs for hydrant and hose reel systems

Release: 1

CPCSFS5007 Create detailed designs for hydrant and hose reel systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5007A Create detailed designs for hydrant and hose reel systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to obtain, process and set up drawings for the detailed design of hydrant and hose reel systems for low to high-rise buildings over 25 metres and 45 metres in height.

This unit of competency supports the role of fire systems designers and hydraulic design consultants who manage their own work and take responsibility for assessing and selecting component requirements, setting out the locations of components and creating final notated drawings for hydrant and hose reel systems.

The role may involve interaction with fire engineers, architects, contractors, suppliers, clients and relevant planning authorities and requires a sound understanding of applicable legislation, standards and codes, including the National Construction Code (NCC).

This unit does not apply to fire systems for special hazard locations.

Licensing, legislative, regulatory or certification requirements may apply to this unit.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing and Fire Services

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Set up fire systems design drawings. | 1.1 | Access and review project drawings and documentation. |
|  |  | 1.2 | Clean drawings to leave minimal essential information. |
|  |  | 1.3 | Import layers showing designs of other services into clean architectural or structural drawings. |
|  |  | 1.4 | Add details from drawings of the floor level above, if these affect the design. |
|  |  | 1.5 | Process the detailed design drawings in accordance with workplace procedures. |
| 2 | Lay out the hydrant and hose reel design. | 2.1 | Conduct a site visit if possible, to confirm dimensions and assess installation risks and constraints. |
|  |  | 2.2 | Determine the exact location of hydrants and hose reels and notate on the drawing according to relevant codes and standards. |
|  |  | 2.3 | Determine the most efficient and workable layout and location of hydrant and hose reel system components and notate on the drawing. |
|  |  | 2.4 | Calculate and check dimensions and notate on the drawing. |
| 3 | Submit drawings for approval and finalise design process. | 3.1 | Submit fire hydrant and hose reel system design drawings to relevant persons within the scheduled timeframe. |
|  |  | 3.2 | Make or negotiate amendments to design drawings as required. |
|  |  | 3.3 | Process and distribute final approved design drawings according to project and workplace requirements. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCSFS5007A Create detailed designs for hydrant and hose reel systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCSFS5007 Create detailed designs for hydrant and hose reel systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5007A Create detailed designs for hydrant and hose reel systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

producing fully compliant designs for hydrant and hose reel systems for the following sites:

low-rise building

medium-rise building

high-rise building (over 25 metres)

building over 45 metres in height

building classifications in the National Construction Code (NCC).

processing design drawings using parametric modelling software and workplace procedures.

Designs for all the above include:

fire engineer’s designs for alternative solutions

technical issues impacting on hydrant and hose reel system designs

relevant regulatory approval and fire systems design certification processes.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace design tools and processes

level of accuracy required in detailed design drawings

naming conventions for design drawings and drawing register

fire science:

fire behaviour and dynamics

impact of fire on structures and materials

products of combustion

fire control strategies

fire retardants

fire detection technologies

fire suppression technologies

fire containment

computer software functions and operation:

word processing

spreadsheet

email

internet

proprietary project management software

proprietary hydraulic calculation software

parametric modelling software

relevant current legislation, codes and standards:

building acts

building regulations

infrastructure supply regulations

National Construction Code (NCC)

Australian standards for fire systems

international standards for fire systems

other fire system standards commonly required by building insurers

protection requirements for different buildings

fire systems technology and components for hydrant and hose reel systems

purpose and operation of fire systems:

layout

system operation

performance requirements

maintenance standards

system activation and operation

characteristics and limitations of products and materials used in fire systems and issues relating to material compatibility

passive fire safety elements:

identification of passive elements

impact of fire systems design on passive elements

specifications required to safeguard integrity of passive fire element performance where penetrations are necessitated by the fire systems design

interconnection of fire systems:

cause and effect matrix

interface with other services

basic principles of structural engineering

characteristics of building materials

construction industry terminology

roles and responsibilities of relevant building project personnel:

architect

lead contractor

mechanical engineer

hydraulic engineer

electrical engineer

on-site issues that can arise during the construction phase and impose changes to the designs of fire systems and other services

installation methods:

access requirements

work health and safety (WHS) requirements

sustainability requirements and ratings:

energy conservation

water conservation

pipe fabrication methods and constraints

mathematical principles, equations and calculation methods:

financial calculations, for example to assess cost-effectiveness of fire systems

trigonometry, for example to amend dimensions of pipe allowing for fittings

flow calculations:

area of operations

discharge rates and quantities

discharge times

pressure gain and loss

K-factors

pressure, temperature and volume relationship

Hazen-Williams equation

Darcy-Weisbach equation

computational fluid dynamics

principles of organic and inorganic chemistry

basic principles of thermodynamics:

effects of heat

stratification of gases

smoke and heat dynamics

contractual processes

project drawings:

architectural

structural

mechanical

electrical

hydraulic

fire engineer’s or estimator’s specifications

efficient and workable layout and location considerations:

selection of cost-effective components and materials

penetrations

conflict with other services

WHS risks

access constraints

installation problems

aesthetic requirements

efficiencies to facilitate work on site and reduce labour costing

negotiations regarding amendments to design drawings which may arise due to:

non-compliance with applicable legislation, codes and standards

impact on installation risks and constraints

impact on cost-effectiveness

hydrant and hose reel system components:

hose reels

hydrant valves

booster valves.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad