# CPCSFS5008 Create detailed designs for fire detection and warning systems

Release: 1

CPCSFS5008 Create detailed designs for fire detection and warning systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5008A Create detailed designs for fire detection and warning systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to obtain, process and set up drawings for the detailed design of fire detection and warning systems low to high-rise buildings over 25 metres and 50 metres in height.

The unit involves assessing and selecting component requirements, setting out the locations of components and creating final notated drawings.

This unit of competency supports the role of fire systems’ designers with responsibility for creating detailed designs for fire detection and warning systems.

The role may involve interaction with fire engineers, architects, builders, suppliers, clients and relevant planning authorities and requires a sound understanding of applicable legislation, standards and codes, including the National Construction Code (NCC).

Licensing, legislative, regulatory or certification requirements may apply to this unit, requirements should be confirmed with the relevant government body.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing and Fire Services

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Set up fire systems design drawings. | 1.1 | Request and obtain project drawings and documentation and name and file according to workplace procedures. |
|  |  | 1.2 | Clean drawings to leave minimal essential information. |
|  |  | 1.3 | Import layers showing designs of other services into clean architectural or structural drawings. |
|  |  | 1.4 | Add details from drawings of the floor level above, if these affect the design. |
|  |  | 1.5 | Process detailed design drawings according to workplace procedures. |
| 2 | Lay out the fire systems design. | 2.1 | Determine the exact location of the fire detection and warning system and notate on the drawing. |
|  |  | 2.2 | Determine the most efficient and workable layout and location of fire detection and warning systems components and notate on the drawing. |
|  |  | 2.3 | Calculate and check dimensions and notate on the drawing. |
| 3 | Specify component capacities and characteristics. | 3.1 | Complete electrical calculations to assess requirements and confirm cable ranges. |
|  |  | 3.2 | Specify components which are most suitable to the application. |
|  |  | 3.3 | Design and specify electronic interfaces with other services. |
|  |  | 3.4 | Prepare system performance requirements and commissioning procedures and specifications according to relevant codes and standards and component manufacturer’s recommendations, workplace and project requirements. |
| 4 | Submit drawings for approval and finalise design process. | 4.1 | Submit fire detection and warning system design drawings to relevant personnel within the scheduled timeframe. |
|  |  | 4.2 | Make or negotiate required amendments to design drawings as required. |
|  |  | 4.3 | Process and distribute final approved design drawings according to project requirements. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCSFS5008A Create detailed designs for fire detection and warning systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCSFS5008 Create detailed designs for fire detection and warning systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5008A Create detailed designs for fire detection and warning systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

producing fully compliant designs for fire detection and warning systems for the following sites:

low-rise building

medium-rise building

high-rise building (over 25 metres)

building over 50 metres in height

building classifications in the National Construction Code (NCC).

processing design drawings using parametric modelling software which include:

relevant standards, codes, workplace procedures, regulatory and manufacturer requirements within agreed project timeframes

relevant regulatory approval and fire systems design certification processes

technical issues impacting on fire detection and occupant warning system designs

fire engineer’s designs for alternative solutions.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace design tools and processes

level of accuracy required in detailed design drawings

naming conventions for design drawings and drawing register

computer software functions and operation:

word processing

spreadsheet

email

internet

parametric modelling software

BASIC computer programming language

current legislation, codes and standards:

building acts

building regulations

infrastructure supply regulations

Building Code of Australia (BCA)

National Construction Code (NCC)

Australian standards for fire systems

international standards for fire systems

jurisdictional authorities in addition to the BCA and NCC

other fire system standards commonly required by building insurers

protection requirements for different buildings

purpose and operation of fire systems:

layout

special products and hazards

system operation

performance requirements

maintenance standards

system activation and operation

characteristics and limitations of products and materials used in fire systems and issues relating to material compatibility

construction industry terminology

roles and responsibilities of relevant building project personnel:

architect

lead contractor

mechanical engineer

hydraulic engineer

electrical engineer

installation methods:

access requirements

work health and safety (WHS) requirements

sustainability requirements and ratings relating to:

energy conservation

electrical and electronics theory:

units used to measure current (alternating current (AC) and direct current (DC)), power, capacitance, inductance and sound attenuation

definition of voltage ratings and requirements applicable to fire detection and warning systems as defined in communication and electrical safety regulations, including extra-low voltage (ELV), low voltage (LV) and hazardous voltages

basic operation of common electronic and electrical components used in fire detection and warning systems including:

basic operation of communication protocols on addressable systems

peripheral devices (printers)

interfaces to other communication systems to high level or low level

communication technologies:

data transfer

networking

communication protocols

radio frequency technologies

acoustics and speech intelligibility for occupant warning systems

financial management:

budgeting

cost-effectiveness

contractual processes

project drawings and documentation:

architectural

structural

mechanical

electrical

hydraulic

water-based fire suppression systems

fire engineer’s or estimator’s specifications

efficient and workable layout and location relating to:

penetrations

conflict with other services

interfaces with other services

WHS risks

access constraints

installation problems

aesthetic requirements

efficiencies to facilitate work on site and reduce labour costing

selection of cost-effective components and materials

detection and warning system components:

EWIS

fire detection and alarm systems

smoke control systems

emergency lighting systems

manual call buttons

amplifiers

speakers

emergency lighting

fire alarm and control panels:

conventional

addressable

detectors:

heat

smoke

flame sensing

spot

projected beam

aspiration type

power source

batteries

cabling

fireproof cable

electrical calculations:

the voltage drop in a wiring path given the required electrical parameters

battery capacity requirements given the required performance parameters

power supply and battery charge capacity requirements given the required performance parameters

Cable Services Australia (CSA) cable size and cabling medium type given the required electrical performance parameters

total power supply consumption requirements of field equipment in normal and active (alarm) state given the required electrical performance parameters of equipment installed

the number of points, circuits and zones on a system given the required performance parameters of a wiring path

negotiations regarding amendments to design drawings arising due to:

non-compliance with applicable legislation, codes and standards

impact on installation risks and constraints

impact on cost-effectiveness.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad