# Assessment Requirements for CPCSFS5009 Create detailed designs for fire systems’ water supplies

Release: 1

Assessment Requirements for CPCSFS5009 Create detailed designs for fire systems’ water supplies

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5009A Create detailed designs for fire systems’ water supplies. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

effectively applying principles relating to the design of water supplies for fire systems for four types of buildings including a:

commercial building

factory

residential nursing home

high-rise building.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace design tools and processes

project drawings and documentation:

proposed water-based fire system designs

mechanical

electrical

hydraulic

level of accuracy required in detailed design drawings

naming conventions for design drawings and drawing register

computer software functions and operation:

word processing

spreadsheet

email

internet

relevant current legislation, codes and standards:

building Acts

building regulations

infrastructure supply regulations

the Building Code of Australia (BCA)

National Construction Code (NCC)

Australian standards for fire systems

international standards for fire systems

jurisdictional authorities in addition to the BCA and NCC

other fire system standards commonly required by building insurers

protection requirements for different buildings including:

low-rise buildings

processing building applications

warehouse buildings under 13.7 m high

warehouse buildings over 13.7 m high

medium-rise buildings

high-rise buildings (over 25 metres)

buildings over 50 metres in height

fire systems’ technology and components

fire system water supply technology and components:

electric pumps

diesel pumps

tanks

pressure vessels

booster configurations

components for water recovery systems

purpose and operation of fire systems:

layout:

consideration of a range of sustainable options for producing the required water pressure for water-based fire systems

selection of cost-effective components and materials

consideration of:

conflict with other services

work health and safety (WHS) risks

access constraints

installation problems

aesthetic requirements

efficiencies to facilitate work on site and reduce labour costing

performance requirements

maintenance standards

characteristics and limitations of products and materials used in water supplies for fire systems and issues relating to material compatibility

construction industry terminology

roles and responsibilities of relevant building project personnel:

architect

lead contractor

structural engineer

mechanical engineer

hydraulic engineer

electrical engineer

civil engineer

fire engineer

building (private) certifier or surveyor

installation methods:

access requirements

WHS requirements

water supplies:

common water sources

conservation requirements

in-ground reticulation

booster configurations

fluid mechanics and hydraulics relating to:

water supply

pressure

tank selection

pressure vessels

pipe range

fluid dynamics, hydraulics and the calculations required for the design of water supplies for fire systems

sustainability requirements and ratings:

energy conservation

water conservation

pipe fabrication methods and constraints

mathematic principles, equations and calculation methods:

flow calculations, including:

pressure gain and loss

K-factors

Hazen-Williams equation

Darcy-Weisbach equation

Colebrook White equations and/or tables

Manning formula and/or tables

AS 2200 Design charts for water supply and sewerage

computational fluid dynamics.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad