# CPCSFS5009 Create detailed designs for fire systems’ water supplies

Release: 1

CPCSFS5009 Create detailed designs for fire systems’ water supplies

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5009A Create detailed designs for fire systems’ water supplies. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit of competency specifies the outcomes required to obtain, process and set up drawings for the detailed design of water supplies for fire systems. The unit also involves assessing and selecting component requirements, setting out the locations of components and creating final notated drawings.

This unit of competency supports the role of fire systems designers with responsibility for creating detailed designs for water supplies for fire systems.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing and Fire Services

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Confirm water-based fire systems designs. | 1.1 | Request, receive, name and file relevant project drawings and documentation according to workplace procedures. |
|  |  | 1.2 | Confirm details and dimensions and to assess water supply installation risks and constraints. |
|  |  | 1.3 | Notate the exact location of fire system components on detailed design drawings according to relevant codes and standards. |
|  |  | 1.4 | Name, file and back up the detailed design drawings according to workplace procedures. |
| 2 | Calculate pipe sizes and pump and tank requirements. | 2.1 | Determine the initial fire flow demands for the site based on the occupancy classifications. |
|  |  | 2.2 | Analyse water flow and pressure test results to establish the minimum levels of available supply in accordance with local jurisdictional requirements. |
|  |  | 2.3 | Determine and analyse the town main water capabilities for the fire services serving the site to identify if fire pumps and fire tanks are required. |
|  |  | 2.4 | Consider options for cost-effective and efficient solutions with reference to manufacturer specifications for the performance of components and according to workplace policies. |
| 3 | Lay out the water supply design. | 3.1 | Identify methodologies used in making town main connections. |
|  |  | 3.2 | Determine and notate the most efficient and workable layout and location of water supply components on the drawings according to workplace procedures. |
|  |  | 3.3 | Calculate, check and notate dimensions on the drawings according to relevant codes and standards and component manufacturer’s recommendations and workplace procedures. |
|  |  | 3.4 | Determine the locations of backflow prevention devices and their accessibility. |
|  |  | 3.5 | Review proposed locations of booster connections with local fire authority. |
| 4 | Submit drawings for approval and finalise design process. | 4.1 | Submit water supply design drawings to relevant personnel within the scheduled timeframe. |
|  |  | 4.2 | Make or negotiate required amendments to design drawings as required. |
|  |  | 4.3 | Process and distribute final approved design drawings according to relevant codes and standards and component manufacturer’s recommendations workplace requirements. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCSFS5009A Create detailed designs for fire systems’ water supplies.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCSFS5009 Create detailed designs for fire systems’ water supplies

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5009A Create detailed designs for fire systems’ water supplies. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

effectively applying principles relating to the design of water supplies for fire systems for four types of buildings including a:

commercial building

factory

residential nursing home

high-rise building.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace design tools and processes

project drawings and documentation:

proposed water-based fire system designs

mechanical

electrical

hydraulic

level of accuracy required in detailed design drawings

naming conventions for design drawings and drawing register

computer software functions and operation:

word processing

spreadsheet

email

internet

relevant current legislation, codes and standards:

building Acts

building regulations

infrastructure supply regulations

the Building Code of Australia (BCA)

National Construction Code (NCC)

Australian standards for fire systems

international standards for fire systems

jurisdictional authorities in addition to the BCA and NCC

other fire system standards commonly required by building insurers

protection requirements for different buildings including:

low-rise buildings

processing building applications

warehouse buildings under 13.7 m high

warehouse buildings over 13.7 m high

medium-rise buildings

high-rise buildings (over 25 metres)

buildings over 50 metres in height

fire systems’ technology and components

fire system water supply technology and components:

electric pumps

diesel pumps

tanks

pressure vessels

booster configurations

components for water recovery systems

purpose and operation of fire systems:

layout:

consideration of a range of sustainable options for producing the required water pressure for water-based fire systems

selection of cost-effective components and materials

consideration of:

conflict with other services

work health and safety (WHS) risks

access constraints

installation problems

aesthetic requirements

efficiencies to facilitate work on site and reduce labour costing

performance requirements

maintenance standards

characteristics and limitations of products and materials used in water supplies for fire systems and issues relating to material compatibility

construction industry terminology

roles and responsibilities of relevant building project personnel:

architect

lead contractor

structural engineer

mechanical engineer

hydraulic engineer

electrical engineer

civil engineer

fire engineer

building (private) certifier or surveyor

installation methods:

access requirements

WHS requirements

water supplies:

common water sources

conservation requirements

in-ground reticulation

booster configurations

fluid mechanics and hydraulics relating to:

water supply

pressure

tank selection

pressure vessels

pipe range

fluid dynamics, hydraulics and the calculations required for the design of water supplies for fire systems

sustainability requirements and ratings:

energy conservation

water conservation

pipe fabrication methods and constraints

mathematic principles, equations and calculation methods:

flow calculations, including:

pressure gain and loss

K-factors

Hazen-Williams equation

Darcy-Weisbach equation

Colebrook White equations and/or tables

Manning formula and/or tables

AS 2200 Design charts for water supply and sewerage

computational fluid dynamics.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad