# Assessment Requirements for CPCSFS5010 Provide documentation and support for fabrication of fire sprinkler systems

Release: 1

Assessment Requirements for CPCSFS5010 Provide documentation and support for fabrication of fire sprinkler systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5010A Provide documentation and support for fabrication of fire sprinkler systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

producing pipe fabrication documentation for fire sprinkler system design projects for four types of buildings including a:

commercial building

factory

residential nursing home

high-rise building.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace design tools and processes

level of accuracy required in detailed design drawings

naming conventions for design drawings and drawing register

relevant current legislation, codes and standards:

building Acts

building regulations

infrastructure supply regulations

the Building Code of Australia (BCA)

National Construction Code (NCC)

Australian standards for fire systems

international standards for fire systems

jurisdictional authorities in addition to the BCA and NCC

other fire system standards commonly required by building insurers

protection requirements for different buildings, including:

low-rise buildings

processing building applications

warehouse buildings under 13.7 m high

warehouse buildings over 13.7 m high

medium-rise buildings

high-rise buildings (over 25 metres)

buildings over 50 metres in height

fire systems’ technology and components, including water-based systems:

wet pipe sprinkler systems

deluge and drencher systems

dry pipe sprinkler systems

pre-action sprinkler systems

early suppression fast response (ESFR)

gaseous suppression systems

water spray systems

water mist systems

wet chemical suppression systems

foam suppression systems

hangers

sprinkler heads

nozzles

elbows

tees

pumps

tanks

purpose and operation of fire systems:

layout

location:

ceiling space

roof space

under-floor

under-soffit

special products and hazards

system operation:

deluge and drencher systems

dry pipe sprinkler systems

pre-action sprinkler systems

ESFR

gaseous suppression systems

water spray systems

water mist systems

foam suppression systems

performance requirements and technical issues impacting on fire sprinkler systems designs

maintenance standards

system activation:

deluge and drencher systems

dry pipe sprinkler systems

pre-action sprinkler systems

ESFR

gaseous suppression systems

water spray systems

water mist systems

foam suppression systems

characteristics and limitations of products and materials used in fire systems and issues relating to material compatibility

installation risks and constraints impacting on pipe fabrication specifications for fire sprinkler systems

construction industry terminology

roles and responsibilities of relevant building project personnel:

architect

lead contractor

structural engineer

mechanical engineer

hydraulic engineer

electrical engineer

civil engineer

fire engineer

building (private) certifier or surveyor

on-site issues that can arise during the construction phase and impose changes to the designs of fire systems and other services:

risks:

manual handling

confined spaces

working at height

installation methods:

access requirements:

height of pipe

length of pipe

weight of pipe and materials

distance from beams

distance from walls

work health and safety (WHS) requirements

water supplies:

common water sources

conservation requirements

in-ground reticulation

booster configurations

fluid mechanics and hydraulics relating to pipe range

sustainability requirements and ratings:

energy conservation

water conservation

pipe fabrication methods and constraints

pipe specifications:

length

dimension

pap size

material:

black steel

galvanised

hot dip galvanised

high density polyethylene (HPDE)

chlorinated polyvinyl chloride (CPVC)

pipe connection specifications:

flange

roll grooved

threaded

compression

fusion welded

chemical (glue)

valve specifications:

sluice

gate

butterfly

globe

ball

solenoid

diaphragm

pressure reducing

flow restricting

3-way

mathematic principles, equations and calculation methods:

financial calculations, for example to assess cost-effectiveness of fire systems

codes, standards, legislation and regulatory requirements

access to manufacturer’s information.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad